EFFECTIVENESS OF RADIATION PROTECTION IN DETECTION OF EXPOSURES AMONG HEALTHCARE WORKERS IN LEVEL 4 AND 5 HOSPITALS IN NYERI COUNTY, KENYA

MASTER OF SCIENCE

(Occupational Safety and Health)

2025

Effectiveness of Radiation Protection in Detection of Exposures among Healthcare Workers in Level 4 and 5 Hospitals in Nyeri County, Kenya

A Thesis Submitted in Partial Fulfilment of the Requirements for the Degree of Master of Science in Occupational Safety and Health of the Jomo Kenyatta University of Agriculture and Technology

2025

# DECLARATION

This thesis is my original work and has not been presented for a degree in any other University

Signature …………………………………………………Date………………………

This thesis has been submitted for examination with our approval as the University Supervisors

Signature …………………………………………………Date………………………

# JKUAT, Kenya

Signature …………………………………………………Date………………………

# JKUAT, Kanya

# DEDICATION

I dedicate this thesis to:

# ACKNOWLEDGEMENT

I wish to express my heartfelt gratitude to my supervisors, and of the Institute of Energy and Environmental Technology (IEET), JKUAT, for their invaluable guidance, mentorship, and constructive feedback throughout the course of this research. Their expertise and encouragement were instrumental in shaping the direction and quality of this thesis.

# TABLE OF CONTENTS

DECLARATION	ii

DEDICATION	iii

ACKNOWLEDGEMENT	iv

TABLE OF CONTENTS	v

LIST OF TABLES	x

LIST OF FIGURES	xiii

LIST OF PLATES	xiv

LIST OF APPENDICES	xv

ACRONYMS AND ABBREVIATIONS	xvi

NOMENCLATURE	xviii

ABSTRACT	xix

CHAPTER ONE	1

INTRODUCTION	1

  - Background to the Study	1

  - Statement of the Problem	3

  - Justification	4

  - Objectives	5

    - Main Objective	5

    - Specific Objectives	5

  - Research Questions	5

  - Study Scope	6

  - Study Limitations	6

  - Conceptual Framework	6

CHAPTER TWO	9

LITERATURE REVIEW	9

  - Theoretical Principles	9

    - Social Cognitive Theory (SCT)	9

    - Italian Workers' Model	10

    - Use of Radiology in Health Facilities	11

    - Radiation Health Effects	14

  - Legal Framework	15

    - Occupational Safety and Health Act	16

    - Kenya Radiation Protection Act	16

    - Hazardous Substance Rules	16

    - Medical Examination Rules	17

  - Previous Work Relevant to the Study	17

    - Radiation Levels in the Radiology Department	17

    - Level of Awareness to the Hazards of Radiation	21

    - Control Measures Applied by the Staff to Reduce the Risk of Radiation 25

CHAPTER THREE	29

MATERIALS AND METHODS	29

  - Study Design	29

  - Study Area and Population	29

    - Inclusion Criteria	31

    - Exclusion Criteria	31

  - Sampling Method	31

  - Sample Size Determination	32

  - Research Instrument	33

  - Data Processing and Analysis	36

  - Data Validation	37

  - Ethical Issues	38

CHAPTER FOUR	39

RESULTS AND DISCUSSION	39

  - Response Rate	39

  - Demographic Information	39

  - Radiation Exposure Levels in the Radiology Departments	44

    - Radiation Exposure Levels in Othaya Level 4 Hospital	44

    - Radiation Exposure Levels in Mukurwe-Ini Level 4 Hospital	46

    - Radiation Exposure Levels in Karatina Level 4 Hospital	48

    - Radiation Exposure Levels in Nyeri Level 5 Hospital	50

  - Level of Awareness of the Hazards of Radiation among Healthcare Workers 55

    - Health Workers’ Training on Hazards of Radiation	56

    - Awareness of Maximum Permissible Dose Limit for Adult Radiation Workers	61

  - Control Measures Applied to Prevent Radiation Exposures	76

    - Measures to Control Radiation Exposure	76

    - Extent of Minimizing Time of Radiation Exposure by Gender	78

    - Perceived Extent of Control by Gender	79

    - Cross Tabulation of Shielding (Using Absorber Materials) by Gender	81

    - Extent of Radiation Control Measures across Different Age Brackets	82

    - Radiation Control Measures by Level of Education	84

    - Radiation Control Measure Chi-Square Results	85

    - Types of Shielding Used to Prevent Exposure	86

    - Factors Considered in the Control of Radiation Exposure	88

CHAPTER FIVE	90

CONCLUSIONS AND RECOMMENDATIONS	90

  - Conclusions	90

    - Radiation Exposure Levels in the Radiology Departments	90

    - Level of Awareness of the Hazards of Radiation among Staff	90

    - Control Measures Applied to Prevent Radiation Exposures	91

  - Recommendations	92

    - Recommendations to the Ministry of Health, Nyeri County, Kenya	92

    - Recommendations to Healthcare Workers in Nyeri County, Kenya	92

    - Recommendation to Radiologists	92

    - Recommendation to the Management of Level 4 and 5 Hospitals in Nyeri County	92

REFERENCES	94

APPENDICES	100

# LIST OF TABLES

Table 3.1: Target Population	31

Table 3.2: Sample Size (Proportional Allocation Formula)	32

Table 4.1: Response Rate	39

Table 4.2: Demographic Information	40

Table 4.3: Radiation Exposure Levels in Othaya Level 4 Hospital (X-ray Room)	45

Table 4.4: Dosimeter Readout for Othaya Level 4 Hospital	46

Table 4.5: Radiation Exposure Levels in Mukurwe-Ini Level 4 Hospital (X-ray Room)

.	47

Table 4.6: Dosimeter Results for Mukurwe-ini Hospital	48

Table 4.7: Radiation Exposure Levels in Karatina Level 4 Hospital (X-Ray Room)

.	49

Table 4.8: Dosimeter Results for Karatina Level 4 Hospital	50

Table 4.9: Radiation Exposure Levels in Nyeri Level 5 Hospital (X-ray Room)	51

Table 4.10: Radiation Exposure Levels in Nyeri Level 5 Hospital (OPG Room)	52

Table 4.11: Radiation Exposure Levels in Nyeri Level 5 Hospital (CT Scan Room)

.	53

Table 4.12: Radiation Exposure Levels in Nyeri Level 5 Hospital (Mammography Room)	54

Table 4.13: Dosimeter Results for Nyeri Level 5 Hospital	55

Table 4.14: Radiation Hazards Training by Gender	57

Table 4.15: Radiation Hazards Training by Age Bracket	57

Table 4.16: Radiation Hazards Training by Nature of Work	58

Table 4.17: Chi-Square Test Results for Radiation Hazards Training by Nature of Work	60

Table 4.18: Maximum Permissible Dose Limit for Adult Radiation Workers by Gender	63

Table 4.19: Chi-Square Test Results for Maximum Permissible Dose Limits	64

Table 4.20: Maximum Permissible Dose Limit among Adult Radiation Workers by Age	65

Table 4.21: Chi-Square Tests for Maximum Permissible Dose Limit among Adult Radiation Workers by Age	66

Table 4.22: Maximum Permissible Dose Limit for Adult Radiation Workers by Level of Education	67

Table 4.23: Maximum Permissible Dose Limit for Adult Radiation Workers by Nature of Work	69

Table 4.24: Chi-Square Tests for Maximum Permissible Dose Limit for Adult Radiation Workers by Nature of Work	70

Table 4.25: Organs Prone to Radiation Hazards	72

Table 4.26: Chi Square Test for Organs Prone to Radiation Hazards	73

Table 4.27: Hazards of Radiation in Health Facilities	74

Table 4.28: Measures to Control Radiation Exposure	76

Table 4.29: Chi Square Tests for Measures to Control Radiation Exposure	77

Table 4.30: Extent of Minimizing Time of Radiation Exposure by Gender	78

Table 4.31: Chi-Square Tests for Gender Differences in Minimizing Radiation Exposure	78

Table 4.32: Perceived Extent of Control by Gender	80

Table 4.33: Chi-Square Tests for Association between Gender and Perceived Extent of Control	80

Table 4.34: Cross Tabulation of Shielding (Using Absorber Materials) by Gender. 81 Table 4.35: Chi-Square Tests for Shielding (Using Absorber Materials) by Gender82 Table 4.36: Extent of Radiation Control Measures across Different Age Brackets . 83 Table 4.37: Chi-Square Tests for Radiation Control Measures by Age Bracket   84

Table 4.38: Radiation Control Measures by Level of Education	85

Table 4.39: Radiation Control Measure Chi-Square Results	86

Table 4.40: Types of Shielding Used to Prevent Exposure	87

Table 4.41: Factors Considered in the Control of Radiation Exposure	88

# LIST OF FIGURES

Figure 1.1: Conceptual Framework	8

Figure 3.1: Map of Nyeri County	30

Figure 4.1: Gender Distribution of Respondents	41

Figure 4.2: Age Bracket	41

Figure 4.3: Level of Education	42

Figure 4.4: Nature of Work	43

Figure 4.5: Occupational Experience	43

Figure 4.6: Health Workers’ Training on Hazards of Radiation	56

Figure 4.7: Awareness of Maximum Permissible Dose Limit	62

Figure 4.8: Maximum Permissible Dose Limit for Adult Radiation Workers by Level of Education	68

Figure 4.9: Organs Prone to Radiation Hazards	73

Figure 4.10: Measures to Control Radiation Exposure	77

Figure 4.11: Types of Shielding Used to Prevent Exposure	88

Figure 4.12: Factors Considered in the Control of Radiation Exposure	89

# LIST OF PLATES

Plate 3.1: Photos of Optical Stimulated Luminescence Dosimeter	35

Plate 3.2: Photo of Radiation Detector Meter	35

# LIST OF APPENDICES

Appendix I: Informed Consent	100

Appendix II: Measurement Analysis of Radiation (OSLD)	103

Appendix III: Questionnaire	104

Appendix IV: Control Measures in Radiology Department	108

Appendix V: Radiology Room Layout	109

Appendix VI: EET JKUAT Letters	110

Appendix VII: ERC Approvals	111

Appendix VIII: NACOSTI License	112

# ACRONYMS AND ABBREVIATIONS

| ALARA | As Low As Reasonably Achievable |
| --- | --- |
| CBC | Complete Blood Count |
| CLL | Chronic Lymphocytic Leukaemia |
| CT | Computed Tomography |
| DNA | Deoxyribonucleic Acid |
| DRL/DRLs | Diagnostic Reference Level(s) |
| EBCT | Electron Beam CT |
| ETUI | European Trade Union Institute |
| EcSOD | Extracellular Superoxide Dismutase |
| Gy | Gray (unit of absorbed dose) |
| ICRP | International Commission on Radiological Protection |
| IEET | Institute of Energy and Environmental Technology |
| IL | Interleukin |
| KAU | King Abdul-Aziz University |
| KCH | Kamuzu Central Hospital |
| KNRA | Kenya Nuclear Regulatory Authority |
| LAR | Lifetime Attributable Risk |
| LFR | Lifetime Fractional Risk |
| MDCT | Multi-Detector CT |
| MES | Managed Equipment Services |
| MIP | Macrophage Inflammatory Protein |
| NACOSTI | National Commission for Science, Technology and Innovation |
| OPG | Orthopantomogram |

| OSLD | Optically Stimulated Luminescence Dosimeter |
| --- | --- |
| PGH | Provincial General Hospital |
| PPE | Personal Protective Equipment |
| PhD | Doctor of Philosophy |
| REA CL | RadTech East Africa Company Ltd |
| RP | Radiation Protection |
| SCT | Social Cognitive Theory |
| SDG | Sustainable Development Goals |
| SOPs | Standard Operating Procedures |
| SPSS | Statistical Package for Social Sciences |
| TLD | Thermoluminescent Dosimeter |
| UAE | United Arab Emirates |
| WHO | World Health Organization |
| X-ray | X-radiation |

# NOMENCLATURE

| D | Absorbed dose (in gray, Gy) |
| --- | --- |
| E | Effective dose (in millisievert, mSv) |
| kVp | Kilovolt peak (X-ray tube voltage) |
| mA | Milliampere (X-ray tube current) |
| mAs | Milliampere-seconds (product of current and exposure time) |
| ms | Milliseconds (exposure time) |
| µSv/hr | Microsieverts per hour (unit of radiation dose rate) |
| Hp(10) | Personal dose equivalent at 10 mm tissue depth |
| Hp(007) | Personal dose equivalent at 0.07 mm tissue depth (skin dose) |

# ABSTRACT

This study examined the effectiveness of radiation protection in detecting exposure among healthcare workers in Level 4 and 5 hospitals in Nyeri County, Kenya. Given the widespread use of radioactive equipment in hospitals, many healthcare workers may lack sufficient knowledge and protective tools to mitigate radiation risks. The study aimed to determine radiation exposure levels, assess staff awareness, and evaluate the protective measures employed within these facilities. A cross-sectional study design was adopted, targeting a population of 1,121 healthcare workers, with a sample size of 294. Radiation exposure was monitored using dosimeter read-outs over a one-month period. Data were collected through semi-structured questionnaires and a checklist, yielding both quantitative and qualitative insights. Qualitative data were analyzed thematically and presented narratively, while quantitative data were processed using SPSS version 27. Descriptive statistics included frequency distributions, percentages, and standard deviations, while inferential analysis was conducted using chi-square tests at a 95% confidence level (significance level of 0.05). Findings indicated that radiation exposure in radiology departments was below 2 mSv annually. However, approximately half of the staff had not received training on radiation hazards, and fewer than half were aware of the maximum permissible dose for adults. Awareness of vulnerable organs—such as the eyes, thyroid, ovaries, and testis—was also limited. Despite these gaps, the As Low As Reasonably Achievable (ALARA) principle was being applied in radiation control practices. A significant observation was elevated radiation levels behind the orthopantomogram lead glass, attributed to its close proximity to the imaging tube. Increasing the distance to at least 2 meters was recommended. The study advocates for regular, comprehensive training programs, proper handling of lead aprons, and consistent use of personal protective equipment including lead aprons, glasses, thyroid shields, portable shields, and automatic interlock devices.

# CHAPTER ONE INTRODUCTION

# Background to the Study

Radiology is now the key diagnostic tool for many diseases and has an important role in monitoring treatment and predicting outcomes (Kaya, Maimaiti & Kaya, 2017). Worldwide, over 3600 million diagnostic radiology examinations are performed annually, 37 million nuclear medicine procedures are carried out, and 7.5 million radiotherapy treatments are given (Miyazaki, 2019). Radiation is commonly used to produce diagnostic images in healthcare which includes X-rays, CT scans, fluoroscopy, and mammograms Parikh, Geise & Bluth, 2017). Ko, Chung and Cho (2017) show that these medical techniques not only improve health outcomes and save lives but also may help reduce health care costs and drive down spending.

Health workers are regularly exposed to high doses of radiation when carrying out radiology. Globally, about 22.8 million workers are exposed to ionizing radiation. Beyond certain thresholds, radiation can impair the functioning of tissues and/or organs and can produce acute effects such as skin redness, hair loss, radiation burns, or acute radiation syndrome and worse still a risk of long-term effects such as gene mutation, cancer, cataract, destruction of bones and blood cells and death (Runyan, 2018).

Control measures are based on the principles of individual-related Radiation Protection (RP) principles (application of dose limits) and two source-related RP principles, which include practices/procedures justification and protection optimization through the use of ALARA principle (Land, Bouville & Apostoaei, 2010). To do this, three basic protective measures can be used in radiation safety: time, distance, and shielding. Kaya, Maimaiti and Kaya, (2017) indicate that radiation safety awareness among healthcare workers around the world remains low.

In Greece, Ploussi and Efstathopoulos, (2016) argue that radiology departments had established a radiation protection culture, which was a combination of attitudes,

beliefs, practices and rules among the professionals and staff. Among African countries, Alsafi, (2016) indicates that control measures used include the establishment and/or implementation of diagnostic reference levels (DRLs), implementation of a comprehensive quality assurance program, reference dose levels, and CT dose-saving protocols. However, in African countries, both hospital authorities and heads of departments ignore RP principles for patients and radiographers. In Nigeria, proactive steps and corrective actions were necessary to improve radiographers’ knowledge of international standards of proper radiation protection practices. In addition, Kaya, Maimaiti and Kaya, (2017) argued that the level of knowledge on radiation protection was less than 50% among healthcare workers.

Various studies have been conducted in Kenya to assess radiation exposure. For instance, Ruth, Warutere and Nyamari (2020) examined the levels of ionizing radiations in selected quarries in Nyamira County; Musamali (2017) conducted an assessment of human exposure to natural sources of radiation on the soil in Tongaren Constituency of Bungoma County; and Kamunde (2018) examined radiation exposure levels associated with construction sand from Tharaka-Nithi County in Kenya. However, these studies were conducted in Nyamira County, Bungoma County, and Tharaka-Nithi County and were limited to activities such as quarries, natural resources and construction sand. As such, there were limited empirical studies on radiation exposure in health facilities in Nyeri County. Therefore, this study sought to determine the effectiveness of radiation protection among healthcare workers in level 4 and 5 hospitals in Nyeri County, Kenya.

Kenya is a developing nation, with about 1,000 radiation-producing facilities country- wide of which 80% are for medical applications (Ministry of Health, 2019). There are around 500 large X-ray machines for diagnostic radiology, 150 for dental imaging, 27 for CT scans, 18 for mammography and bone densitometer units, 3 cobalt radiotherapy units, 3 Linac accelerators for radiotherapy, over 100 fluoroscopy units, 5 interventional units, 2 brachytherapy units, and 3 gamma cameras. (Ministry of Health, 2019). Medical use accounts for the largest proportion of ionizing radiation use in Kenya (Abuelhia & Alghamdi, 2020).

Existing research highlights that while radiation exposure levels among medical staff generally fall within international safety limits, there is significant variation across different healthcare roles and facilities (Korir et al., 2007). This underscores the need for localized studies to understand specific exposure patterns in Kenyan hospitals. Systematic reviews of radiation dose monitoring in African countries, such as the one conducted by Gbetchedji et al. (2020), indicate that dosimetric monitoring can significantly limit radiation exposure and reduce health risks, but data from Africa is sparse. Additionally, studies show that while there is a general understanding of radiation risks among Kenyan healthcare workers, detailed knowledge of protective measures and their consistent application is lacking (Mulunda et al., 2013). Evaluating current practices in Nyeri County hospitals will provide insights into the adequacy of protective measures, identify gaps in training and compliance, and inform policy improvements to enhance worker safety. A study focusing on level 4 and 5 hospitals is necessary to address the lack of data on radiation exposure levels, awareness of hazards, and control measures among staff, thereby contributing to better overall safety standards in the Kenyan medical sector.

# Statement of the Problem

In an ideal healthcare setting, hospital staff are well-informed about radiation hazards and are equipped with appropriate tools and protective measures to prevent and monitor exposure. Facilities implement stringent radiation safety protocols to safeguard their personnel. In Nyeri County, Kenya, there has been a notable increase in the supply and use of radioactive equipment, in Level 4 and 5 hospitals in Nyeri County, Kenya.

The notable increase was due in part to the Medical Equipment Leasing Program in Kenya commonly referred to as the Managed Equipment Services (MES)— which was a flagship initiative launched in 2015 to improve access to specialized healthcare across all counties.

This equipment includes diagnostic radiology devices such as X-ray machines, CT scanners, fluoroscopy units, and orthopantomograms, which are commonly used for imaging and treatment purposes.

These devices are regulated by the Kenya Nuclear Regulatory Authority (KNRA), which maintains a register of irradiating devices and oversees their safe use.

However, despite the growing presence of such equipment, many healthcare workers in these facilities may lack adequate training in radiation safety and may not consistently use personal protective equipment (PPE). This gap may be attributed to insufficient  training  programs, limited  availability  of  protective  gear, and inconsistent integration of safety protocols into routine clinical practice.

Although no specific cases of radiation-induced illness have been documented in Nyeri County hospitals, global evidence shows that prolonged exposure to ionizing radiation can lead to serious health effects such as acute radiation syndrome, cataracts, infertility, and increased cancer risk.

Therefore, understanding the effectiveness of current radiation protection practices in Nyeri County is essential to inform policy, enhance staff safety, and reduce occupational exposure risks.

# Justification

In an effort to improve healthcare service delivery in line with the Sustainable Development Goals (SDGs), Agenda 2063, Kenya's Vision 2030, and World Health Organization (WHO) guidelines, there has been an increase in the utilization of radiation-producing equipment in health facilities, globally. However, the radiation exposure levels, awareness, and control measures among healthcare workers are yet to be documented in Nyeri County, Kenya.

For the management of level 4 and 5 hospitals in Nyeri County, this study provides crucial information on radiation exposure among healthcare workers, which can inform the development of strategies to minimize and prevent radiation exposure. These strategies may include maximizing distance from the radiation source, using protective gear like lead aprons and gloves, installing lead-plated glass barriers, utilizing lead strips during fluoroscopy procedures, and establishing standard operating procedures (SOPs) for radiology departments.

For the County Government of Nyeri, this study offers vital data on healthcare workers' radiation exposure, which can be used to develop new policies aimed at reducing radiation exposure in radiology departments. These policies could focus on shielding, increasing distance, and reducing time exposed to radiation. Additionally, the Government of Kenya can use the findings to mandate the use of dosimeters by all radiology staff to measure and record radiation exposure levels.

For scholars, researchers, and academicians, this study provides valuable information that can be used as research material and to identify gaps in existing studies on healthcare workers' radiation exposure. It also lays the groundwork for further studies on radiation exposure in other counties and constituencies across Kenya.

# Objectives

# Main Objective

Determine the effectiveness of radiation protection in detection of exposures among healthcare workers in level 4 and 5 hospitals in Nyeri County, Kenya

# Specific Objectives

      - To determine radiation exposure levels in the radiology departments in level 4 and 5 hospitals in Nyeri County

      - To assess the level of awareness of the hazards of radiation among health care workers working in level 4 and 5 hospitals in Nyeri County

      - To evaluate control measures applied by the healthcare workers in level 4 and 5 hospitals in Nyeri County

# Research Questions

- What are the radiation exposure levels in the radiology departments in level 4 and 5 hospitals in Nyeri County?

- What is the level of awareness of the hazards of radiation among healthcare workers working in level 4 and 5 hospitals in Nyeri County?

- Which control measures are applied by the healthcare workers in level 4 and 5 hospitals in Nyeri County?

# Study Scope

The study sought to assess exposure to radiation to healthcare workers in level 4 and

5 hospitals in Nyeri County. The study focused on the use of Radiology, Mammography, Computed Tomography (CT), Orthopantomagram and Fluoroscopy. It was conducted in Nyeri County and focused on four level 4 and 5 hospitals, which include Nyeri Level 5 Hospital, Karatina Level 4 Hospital, Othaya Level 4 Hospital and Mukurwe-ini Level 4 Hospital. The target population of the study was 1121 healthcare workers, and the study population was 294 healthcare workers working in the health institutions.

# Study Limitations

Delays in some departments

# Conceptual Framework

Figure 1.1 shows the relationship between independent variables, moderating variables and the dependent variables. The independent variables were level of awareness and use of radiation in radiology department. The control measures were moderating variables such as use shielding, increasing distance and reduce time. The dependent variable was healthcare workers’ exposure to radiation.

The conceptual framework for this study focuses on examining the relationship between independent variables, such as radiation levels in different radiology procedures and the level of awareness among healthcare workers, and the dependent variable, which is the healthcare workers’ exposure to radiation. Radiation levels are evaluated across various modalities including radiology, mammography, (CT), and fluoroscopy. Each of these modalities emits different radiation levels and thus poses varying degrees of exposure risk. By quantifying these levels, the study aims to provide a detailed understanding of the radiation environment in the radiology departments of level 4 and 5 hospitals in Nyeri County.

The level of awareness among healthcare workers about the hazards of radiation, permissible dose limits, and the organs affected by radiation is another critical independent variable. Awareness impacts how healthcare workers perceive and manage their exposure to radiation. This includes understanding the potential health risks and the legal limits of safe exposure. A higher level of awareness is expected to correlate with better adherence to safety protocols and use of protective measures, thereby potentially reducing radiation exposure.

The control measures, which act as a moderating variable, include shielding, maintaining an appropriate distance from radiation sources, and minimizing the time spent exposed to radiation. These measures are crucial in mitigating the risks of radiation exposure. Shielding involves the use of barriers such as lead aprons and walls to block radiation, while maintaining distance reduces exposure intensity, and limiting time exposure reduces cumulative dose. The effectiveness of these control measures influences the extent to which healthcare workers' exposure can be minimized. By examining these factors, the study aims to provide a comprehensive analysis of the dynamics between radiation exposure levels, awareness, and control measures, ultimately offering insights for improving radiation safety in healthcare settings.

Control Measures

- Shielding

- Distance

- Time of exposure

Level of Awareness

- Awareness on hazards of radiation

- Awareness of	permissible dose limit

- Organs affected by radiation

Healthcare workers’ exposure to radiation

- Personal dosimeter readings

- Survey meter

readings

Radiation levels in radiology department

- Radiology

- Mammography

- Computed tomography

- Fluoroscopy

Independent Variables

Dependent Variable

Moderating variables

Figure 1.1: Conceptual Framework

CHAPTER TWO LITERATURE REVIEW

# Theoretical Principles

This section presents the theoretical principles guiding the study. The study is supported by the Social Learning Theory, Italian Workers' Model.

# Social Cognitive Theory (SCT)

The above Theory began in 1960s as Social Learning Theory by Albert Bandura. The SCT was developed in 1986 with the concept that learning takes place in a social setting with reciprocal and dynamic interaction of the individual, behavior as well as environment. The SCT explains how personal experiences influence health behaviors, the actions of other individuals and also environmental factors. Through the increase of self-efficacy, expectations, and use of observational learning as well as other reinforcements to promote behavior change, SCT gives opportunities for social support (Cecchini, Bedini & Stasi, 2017).

Self-efficacy, behavioral capability, self-control, expectancies, observational learning, and reinforcing are key components of the SCT that are associated with individual behavior change. Self-efficacy is the conviction that one has power over and can do an action (Miyazaki, 2019). Environmental effects, as well as person's unique features and other personal factors influence self-efficacy (facilitators and barriers).

Understanding and the ability to carry out a behavior are both parts of behavioral capability. This speaks of person's genuine capacity to engage in a behavior using necessary abilities and information. An individual needs to understand how and what to do an activity in order to successfully conduct it. People gain knowledge from the results of their actions which influence the environment (Cho, Kim, Jang & Han, 2018). Expectations are the results that one expects from their actions. Before taking part in an activity, people take into account the impact of their decisions, and these can affect whether the behavior is successfully completed (Miyazaki, 2019). Expectations are mainly influenced by past experiences. Even while expectancies are also based on

prior experience, they are more individualized and place more emphasis on the outcome (Giraudo, Bena & Costa, 2017).

Self-control entails controlling and observing personal conduct. Watching and witnessing the results of others modeling or acting out the desired behavior is a key component of observational learning (Cho, Kim, Jang & Han, 2018). This claims that people have the ability to observe and witness other person's behavior, then imitate it. This is normally exhibited by "modeling" behaviors. People are more likely to carry out an activity successfully if they observe another person doing it well. Reinforcements are the internal or external (incentives and rewards) responses to a person's behavior that have an impact on the chances of the behavior continuing or ceasing. Reinforcements can be positive or negative and can be self-initiated or environmental.

The social cognitive theory was used in this research to show the role of awareness on radiation hazards, impact of the hazards control measures. Reduction in radiation exposure necessitates the use of protection methods and skills to apply these protection methods. Awareness, which influences behaviors in radiology departments, is increased through frequent training of the staff. The self-efficacy of the staff in the radiology department in the reduction of exposure to radiation is influenced by the level of awareness (behavioral capability). The theory considers individual past experiences, which have an impact on the occurrence of behavioral action. Past experiences impact reinforcement, expectations and also expectancies, which affect whether or not someone would take part in a given activity and the motives for that action.

# Italian Workers' Model

The above model of struggle for health and safety was developed between 1970s and 1980s and was adopted across OSH and Europe trade union strategy today. During this period (1970s and 1980s) trade union mobilization techniques underwent significant rejuvenation as a result of workers' involvement in health and safety activities. Italy started to build new experiences at the end of the 1960s (Cecchini, Bedini, Mosetti & Stasi, 2017).

Emphasizing prevention rather than compensation for work-related injuries, the movement by trade unions quickly spread throughout different European countries. Historians, sociologists, ergonomists and trade unionists debated union-led prevention strategies on 9 and 10 February 1964 in Brussels, at a seminar convened by the European Trade Union Institute (ETUI) (Lee, Choi Ko, 2018). The union-led prevention strategies were focused on workers’ capacity to analyze work processes, identify hazards and define preventive solutions.

Through reconstruction of work processes and technical guidance from experts with expertise of work processes and work risk, the Italian workers' model aims to identify risks and harms to which employees are exposed (Physician, Psychologists, Engineers, Social Assistants). The preventative measures are suggested, changing the working environment with the aim of fostering wellbeing and safeguarding the workers' health (Runyan, 2018).

The study used the Italian workers’ model to assess the prevention solutions and measures used in radiation protection among staff working in radiology departments. Strategies used in the prevention of radiation exposure are based on the time-distance- shielding approach. People and general public can be protected from possible hazards of radiation by reducing exposure time, increasing distance from the source, and safeguarding occupational workers (Ploussi & Efstathopoulos, 2016). The technologist must stay at least 2 meters away from patient, x-ray tube, and the primary beam during the exposure, for example, in mobile radiography, which lacks a fixed protective control booth. By placing particular materials (such as concrete or lead) between the radiation source and the exposed person, shielding is the idea that the radiation will be attenuated.

# Use of Radiology in Health Facilities

In order to identify and classify diseases and injuries, manage patient care, and direct many types of medical therapy, radiology uses methods including X-ray imaging. An X-ray beam is passed through a patient's body to produce the images in radiography. They are captured on film or a digital format of some kind (Ahmad, Abdalla & Bartenhagen, 2019). Digital images are typically viewed on computer monitors, while

film images are typically viewed as transparencies on an illuminated view-box or illuminator. The world is generally moving away from film-based radiography and toward digital radiography. Although digital radiography has numerous benefits, due to cost and other operational factors, it may not be the best option at this time for many clinical facilities.

According to Nassef and Kinsara, (2017), mammography requires a larger exposure compared to other radiographic methods to generate quality image. The breast is made up entirely of soft tissue (there are no bones or air spaces), which has very little contrast, and requires a larger exposure than other radiographic techniques. It takes more radiation to produce visible images of both healthy breast anatomy and illness symptoms. The goal of mammography is to provide images that allow for the most accurate visualization of breast anatomy and illness symptoms while sparing the patient from needless radiation exposure.

Early breast cancer might be hard to spot because it resembles healthy breast tissue. Lower energy X-rays must be used in order to magnify the differences between cancer and healthy tissue. Only mammography-specific radiography equipment is capable of achieving this (Lee, Choi & Ko, 2018). The mammography enhancing screens are made to create very little blurring and excellent vision of minute objects and structures, particularly micro calcifications. It is vital to have a film-screen combination that can detect incredibly minute alterations at a low dose in order to identify minor changes (in attenuation and size) in breast tissue.

A technique that increases the clinical applicability of X-ray imaging is CT. Soft tissues may be seen because of their high contrast sensitivity, which also creates tomographic (slice) and three-dimensional (3D) volumetric images. Several methods for evaluating cardiac disease are among the clinical uses of CT that are available. With the aid of CT, pictures can be enhanced for a variety of anatomical areas and used to visualize pathologic abnormalities. This is accomplished by modifying the examination protocol variables' relatively high number of exposure parameters to create the necessary visibility of the clinical condition that is being evaluated (Ahmad, Abdalla & Bartenhagen, 2019).

CT has been utilized for coronary angiography and coronary calcium scoring (coronary CTA). The coronary arteries were previously visualized using invasive coronary angiography, which traditionally involved inserting a very small tube (catheter) into a blood vessel in the arm or a groin, injecting a contrast agent when the catheter tip was at the desired position, and taking pictures under X-ray guidance (Xie, Liao, Kang & Zhang, 2016). The coronary arteries can also be seen using contemporary CT scanning. This is primarily done with multi-detector CT (MDCT), despite previously being done with electron beam CT (EBCT). About 15 minutes pass during a CT colonogram. At the beginning of the procedure, a catheter is introduced into the rectum to fill the colon with air or carbon dioxide. The patient is instructed to roll over and assume various positions. A professional radiologist then interprets the colon pictures received from the CT scans that were taken in both the prone and supine postures.

A technique that offers real-time X-ray imaging is fluoroscopy. This helps in directing a number of diagnostic as well as interventional procedures in particular. Fluoroscopy can show motion by producing a continuous series of images at a maximum rate of 25 to 30 full images per second (Wiam, Mohamed, Antti & Mika, 2020). This is equivalent to how images are transmitted by traditional television or video. The minimal exposure necessary to create an image in fluoroscopy, as in all forms of X- ray imaging, relies on the precise informational needs of the image. The sensitivity of a fluoroscopic system, or the quantity of exposure necessary to produce images, is a key feature. Utilizing intensifier tubes and more recent digital flat panel receptors allows for the optimization of the patient exposure to radiation while maintaining image quality.

Due to the patient's excessive exposure, non-intensified fluoroscopy that uses only a fluorescent screen as a receptor should not be employed. The lowest exposure necessary to generate an image in fluoroscopy, like in all forms of X-ray imaging, relies on the precise image information needs. The sensitivity of a fluoroscopic system, or the quantity of exposure necessary to produce images, is a key feature. Utilizing intensifier tubes and more recent digital flat panel receptors allows for the optimization of the patient exposure to radiation while maintaining image quality.

# Radiation Health Effects

Ionizing radiation has two harmful health consequences: random impacts and deterministic effects. A stochastic radiation effect is one in which the likelihood of the effect rises with radiation dose instead of the intensity of the damage. Genetic effects and cancer brought on by radiation are stochastic in nature. On the other hand, predictable consequences happen when the radiation exposure goes above a specific level (Gittleman, Ostrom, Rouse & Kruchko, 2015).

Deterministic effects are seen after high radiation doses are received, and they mostly result from radiation-induced cellular death. Moreover, they only happen when a significant number of the cells in a radiation-damaged tissue die from the radiation, and the loss cannot be made up for by an increase in cellular proliferation (Miller et al., 2019). Inflammatory procedures and, if the injury is severe enough, additional systemic occurrences, further worsen the resulting tissue loss. Additionally, later consequences of healing processes, including fibrosis, may cause extra harm and function loss in an organ or tissue. These effects clinical examples include sterility, cataracts, necrosis and fibrosis in internal body parts, acute radiation illness following irradiation of the entire body, and necrotic changes in the skin. Radiation-induced malformations that occur in the conceptus during the organogenesis stage (3–8 weeks of pregnancy) are likewise the result of cell death and are categorized as deterministic effects. The same is true for forebrain abnormalities that result in mental retardation and are brought on by exposure from 8 to 15 weeks (in some cases, up to 25 weeks) after conception (Gittleman, Ostrom, Rouse & Kruchko, 2015).

In regard to stochastic effects, Induced mutations may change irradiated and surviving cells (somatic, hereditary). Malignant neoplasms (cancer) and genetic mutations are two clinically relevant outcomes that these alterations may produce. Despite being a very mild carcinogen, ionizing radiation causes cancer. Only approximately 6% of the cancers that develop in these survivors, according to careful follow-up of more than 80,000 survivors of atom bomb in Nagasaki and Hiroshima over the past 50 years, are radiation-related (Akdag, Dasdag & Canturk, 2018). These findings enable assessment of the likelihood that specific dose will lead in a cancer diagnosis and death from

different cancers. Leukemia of various forms and solid tumors of various organs, primarily carcinomas of the thyroid, lung, skin, breast and gastrointestinal system, are included in the latter group (Miller et al., 2019).

After radiation exposure, radiation-induced cancers do not appear instantly but need time to become clinically visible (latent period). The minimum latent periods examples are non- Chronic Lymphocytic Leukaemia (CLL) 2 years, around 5 years for bone and thyroid cancer and 10 years for other cancers. Mean latent periods are more than 20 years for most other cancers and 7 years for non-CLL. Some tumors like carcinomas of prostate, lymphomas, cervix, uterus and chronic lymphatic leukemia do not seem to be induced by radiation or only weakly so. (Morrison, 2018)

Parikh, Geise and Bluth (2017) studied the radiation-related impacts on Radiologists in the United States. The study used cross-sectional research method and established that radiation exposure led to radiation-induced cancers (skin cancer, breast cancer, leukemia, thyroid cancer, brain cancer), radiation-induced skin injury, radiation- induced cardiovascular disease, and radiation-induced cataracts. Barrett (2016) examined radiation hazards in the practice of radiology in Canada radiology departments. The results indicated that for Radiologists working prior to 1950, high occupational doses were linked to an increased risk of radiation-induced breast cancer, skin cancer, and leukemias (apart from chronic lymphocytic leukemia), when knowledge of the radiation exposure side effects was still developing even before the widespread use of present radiation safety practices.

# Legal Framework

In Kenya, there are several laws meant to prevent radiation among staff working in various institutions utilizing radiations. The Occupational Safety and Health (OSH) Act 2007 which is part of the prevention of radiation exposures, is cited in the Kenyan Constitution, 2010; Ministry of Health, 2015). For instance, Article 35 of the constitution requires institutions to ensure personnel access to the necessary information for the exercise of protection of any right (Ministry of Health, 2015). Article 41 requires employers to give reasonable working conditions for all employees

in Kenya, while Article 42 requires employers to provide a clean and healthy environment.

# Occupational Safety and Health Act

The enactment of OSH Act, 2007 signified the new beginning in the management of OSH in Kenya workplaces. The act necessitates that government sectors develop guidelines and policies that domesticate the Act. In the second schedule, the Act highlights prescribed occupational diseases and their nature of occupation. One of the highlighted diseases is ulceration, inflammation or malignant disease of the skin or subcutaneous tissues, cataract or blood dyscrasia as a result of exposure to radiation (Nuclear and Energy Agency, 2019). The OSH Act 2007 requires the management of various organizations to ensure health, safety and welfare at work of all employees.

# Kenya Radiation Protection Act

Kenya Radiation Protection Act Rev. Ed. 2014 is an Act of Parliament that ensure the public and radiation workers are protected from the risks associated with the use of equipment or materials that can emit ionizing radiation, as well as for related purposes (Muigua, 2020). The radiation safety requirements prescribed under this Act do not apply to patients undergoing medical treatment by exposure to ionizing radiation by or under the supervision of an authorized person. Through this act, the authorized national regulating body for radiation protection, nuclear safeguards, secure management of radioactive waste and nuclear security is the Radiation Protection Board. The primary goals of Radiation Protection Board are to control peaceful usage of ionizing radiation, ensure the safety of those who are occupationally subjected to radiation, patients going through medical radiation treatments, the general public, and also surrounding environment, and help ensure society receives the greatest possible socioeconomic benefits (Ministry of Health, 2019).

# Hazardous Substance Rules

Hazardous Substance Rules are part of the Occupational Safety and Health Act. Every factory, location, method, activity, or work covered by Factories and any other

Workplace Act is subject to the rules, as are every employer, occupier or owner, representative, independent contractor, and worker. The regulations stated that each employer must make sure that hazardous material exposure does not exceed the limits specified in the First Schedule to these Regulations (Ministry of Health, 2019). In addition, they indicate that every employer has a responsibility to protect their staff from harmful substances. Every employer has a responsibility to limit employee exposure to hazardous substances when it is not reasonably practical to prevent it. This can be done by minimizing the number of hazardous substances used that may pollute the workplace, the number of staff who will or may be exposed, using an alternative to toxic material, and regulating the time the staff may be exposed or will be exposed.

# Medical Examination Rules

Medical Examinations Rules 2005 are part of the Occupational Safety and Health Act. All employees who are currently employed or have previously been employed in any workplace where the Act's requirements apply must submit to a medical examination under these Rules. The rules indicate that it shall be the employer’s duty to ensure all people working in any of the occupations covered under OSH Act undergo pre- employment as well as periodic medical examinations by the designated health worker. In addition, the employer is expected to ensure that the test is conducted without causing the employees any financial loss and, if possible, during their normal working hours (Ministry of Health, 2019).

# Previous Work Relevant to the Study

# Radiation Levels in the Radiology Department

The World Health Organization, (2018) indicates that despite the benefits of radiation in healthcare, improper use of radiation can result in unexpected or unneeded radiation exposures that pose a risk to the health of both patients and employees. Due to the widespread use of radiation in medicine, it is necessary to use a public health strategy in order to manage and reduce health risks while increasing benefits. Radiation can cause cell death that is severe to compromise the ability of irradiated organs or tissues to function. If radiation dose crosses a particular threshold, the consequences are

clinically discernible. These are referred to as 'tissue reactions' Frequency and severity increase with the dose and medical risks include cataract, skin damage, nausea, vomiting, sterility, epilation among others. A cell that is exposed to radiation can also undergo a non-lethal change while maintaining its ability to reproduce After latency duration of years, this could result in cancer in the exposed person or heritable consequences in the children. They are referred to as "stochastic effects." (Lee, Choi & Ko, 2018).

Nassef and Kinsara (2017) studied occupational radiation dose for medical workers at a University Hospital. At the King Abdul-Aziz University (KAU) hospital, occupational radiation doses for medical employees in diagnostic radiology departments, nuclear medicine, as well as radiotherapy were measured and analyzed. To assess the average yearly effective dose of 100 medical radiation employees, monitoring was done. The Center for Radiation Protection and Training-KAU performed the analysis and calibration procedures for this investigation. According to their roles and expertise, monitored employees were divided into three subgroups: medical supervisors/ staff, Nurses and technicians. All categories of employees except those in the Cath lab had their doses assessed using TLD-100 (LiF:Mg,Ti) placed over lead apron at chest level. For those workers, the TLD was situated at thyroid protection collar. The hand dose distribution for nuclear medicine was measured using a hand dosimeter. It was discovered that yearly average effective doses for radiation, nuclear medicine, as well as diagnostic radiology personnel were 0.66, 1.56, and 0.28 mSv. The measured exposure had findings that were far below the 20 mSv worldwide recommended dose limit.

Ahmad, Abdalla and Bartenhagen, (2019) assessed Healthcare personnel exposed to ionizing radiation show changed levels of inflammatory cytokines and redox indicators. 40 sex- and age-matched non-exposed control volunteers and a group of twenty radiation-exposed employees were chosen for the study. Healthcare workers' whole blood was tested for superoxide levels, along with all other cytokines, oxidative Deoxyribonucleic Acid (DNA) damage, extracellular superoxide dismutase (EcSOD) activity, and reduced/oxidized glutathione ratio levels. The results showed that workers exposed to radiation had significantly greater superoxide levels than the

control group. The levels of interleukin (IL)-6, IL-1, and macrophage inflammatory protein (MIP)-1 were also found to be significantly higher in radiation-exposed workers than in controls.

In South Korea, Lee, Choi and Ko, (2018) conducted a study among diagnostic medical radiation employees on projected lifetime cancer risks from occupational radiation exposure. Lifespan cancer risk was assessed among medical radiation professionals who were registered in Korean National Dose Registry between 1996 and 2011 using estimated organ doses and the RadRAT risk assessment tool. The risk was estimated using median doses due to the skewed distribution of radiation doses. Both male and female radiologic technologists who began their careers in 1991 had the highest lifetime attributable risk (LAR) (264.4/100,000 and 391.2/100,000, respectively). Despite receiving lower radiation doses than male workers, female workers had a greater incidence of radiation-related excess cancer. The increased risk of breast and thyroid cancer in women was the primary cause of their greater LAR. LARs among men was higher than women in most other cancer sites. With respect to organ sites, LAR of colon cancer (44.3/100,000) was the highest in male radiologic technologists, whereas LAR of thyroid cancer (222.0/100,000) was the highest in female radiologic technologists among workers who started radiologic practice in 1991. Thyroid and bladder cancers had the highest lifetime fractional risk (LFR) among radiologic technologists.

In South Korea, Jeong, Shin, Moon and Yum, (2010) conducted a study on the Analysis of Radiation Exposure of Radiation employees. Analysis was done on the records that were routinely reviewed for personal exposure to radiation in 4 university hospitals from 1st January 1993 to 31st December 1997. There were 458 documented individuals, however only 347 were included in this study because 111 of them had employment histories of less than a year. 347 people were exposed to radiation on average annually for 1.52+/-1.35 mSv. Despite the legal limit of radiation being less than 50mSv, 36% of the population had higher radiation exposure than non-radiation employees. Men received an average of 1.67+/-1.54 mSv/year compared to 1.13+/-

0.61 mSv/year for women. Despite using low-energy sources, the nuclear medicine department's radiation exposure is higher than that of other hospital departments. This

is due to low utilization of the protective measures as the staff have a feeling that there is low exposure. High radiation exposure in diagnostic radiology department is found in barium enema rooms, where employees got an average of 3.74+/-1.74 mSv/year and in other areas where everyone uses fluoroscopy, including the angiography room, where employees received an average of 1.17+/-0.35 mSv/year, and the upper gastrointestinal room, where employees received an average of 1.74+/-1.34 mSv/year. The average radiation exposure for doctors and radiation technicians, respectively, was 1.75+/-1.17 mSv/year and 1.60+/-1.39 mSv/year, greater than that of other hospital employees that work in the radiation area.

Using a portable CT scanner, Xie, Liao, Kang, and Zhang (2016) investigated the radiation exposure of the critical care unit staff. In this study, 40 participants had to wear thermoluminescent dosimeter badges all day long. Average annual dosages for Nurses and Doctors were 0.88 mSv and 0.99 mSv. The highest radiation exposure was experienced by residents (1.04 mSv annually). The length of service and day shift working hours were connected with the radiation dose. ICU workers are not exposed to large doses of ionizing radiation while using basic safety precautions during bedside radiological treatments, including portable CT scans.

In UAE, Wiam, Mohamed, Antti and Mika, (2020) carried out a study on estimation of work-related radiation exposure for medical professionals in cardiology and radiology. 1011 medical professionals provided readings from 5700 thermoluminescence dosimeters (TLDs). The average yearly effective dose for each employee ranged between 0.38 and 0.62 mSv. Although there has been increase in total effective dose in the course of the trial, there was no discernible time trend in the mean effective dose. Additionally, compared to other job categories, cardiologists received larger mean and maximum effective dosages. The possibility of significant exposure to the ordinary worker is low because the annual effective doses were below the legal and regulatory thresholds established by both national and international standards.

In Malawi, Chinangwa, Amoako and Fletcher (2017) conducted a study on radiation dose evaluation for occupationally exposed employees. To track their exposure for a

month, 15 Radiologists were given Themoluminescent Dosimeters. Survey meters were used to measure dose rates. The workers' average monthly dosage was 0.247mSv. For Mtengo wa Nthenga Hospital, the average ambient dose rate was 0.39 Sv/hr, for Bwaila Hospital it was 5.03 Sv/hr, and for Kamuzu Central Hospital (KCH) it was 4 Sv/hr. Both the ambient dose rate and the individual dose obtained the highest values at the Bwaila hospital. Mtengo wa Nthenga, on the other hand, got poor results in both monitoring techniques. Another finding was that KCH had low individual dose values in spite of CT scanner's heavy activity and extended exposure period. Workers may not always be present in CT control room simultaneously, and control room was built to minimize occupational exposure. It was noted that there is staff turnover in their work schedule, indicating that many people share CT control room. It is not always the same person operating the CT scanner. On other days, the Radiologists use mobile C-arms, conventional X-ray machines, ultrasound machines or conventional X-ray machines. There were frequently two employees at Bwaila working with a single general X-ray machine and a large volume of patients each day. In comparison to other facilities, the two employees were getting diagnostic photographs for a longer period of time.

Korir, Wambani and Korir, (2011) conducted an estimate of the yearly occupational effective doses from exterior ionizing radiation in Kenyan medical facilities Thermoluminescent dosimeters were used to quantify monthly doses for duration of one year, gathering data on the trends and distribution of doses among radiation exposed employees from various medical institutions. 367 medical radiation employees were observed. For all participants, the typical annual effective dosage varied from 1.19 to 2.52 mSv. Technologists received the highest yearly effective dose of all of these workers.

# Level of Awareness to the Hazards of Radiation

In Middle Eastern Countries, Kaya, Maimaiti and Kaya, (2017) studied radiation safety awareness among healthcare workers. With the help of search engines like Google Scholar, PubMed, and Science Direct, the search was restricted to English-language publications from January 2005 to June 2016 only. The study included original studies

that discussed how well-informed hospital and clinic staff were about radiation risk and safety. Studies that described health science and medical students' awareness of radiation safety and those published prior to year 2005 were eliminated by Kaya, Maimaiti, and Kaya (2017). Only twelve publications out of a total of 28 articles that were initially reviewed met the inclusion criteria. Of these, six papers discussed doctoral knowledge, three papers discussed radiographers, two papers discussed medical employees, and one paper discussed nurse knowledge. Majority of the researchers found that less than 50 percent of healthcare professionals had the requisite knowledge. The study discovered that the Middle Eastern countries' health care providers had extremely low levels of expertise based on the publications that were available.

Erkan, Yarenoglu and Yukseloglu (2019) conducted an assessment of the awareness of radiation safety among healthcare workers in hospitals in Istanbul. The study used descriptive research design, and the questionnaire was disseminated to 101 healthcare employees working with radiation source in operating room, endoscopy, and radiology units. The results show that healthcare workers who took part in this study lack sufficient understanding about radiation safety. The administration of the institutions that practice radiation ought to take precautions by providing personnel or the appropriate substructure such as equipment and essential training, which is why this is the most crucial issue.

In California, Reagen and Slevhta (2010) carried out a study on the factors related to radiation safety practices. A 33-item questionnaire was disseminated through email to 1500 randomly sampled California radiologic technologists. The results indicated that medical practitioners are trained to keep patient doses ALARA for imaging methods that employ ionizing radiation, such as CT scans, fluoroscopy, and traditional x-ray imaging. Medical personnel are urged to use the least amount of radiation necessary to give appropriate picture quality or imaging guidance, or to optimize doses (for fluoroscopy). The ALARA method, also known as optimization, reduces radiation exposure to the patient while still giving the medical practitioner access to crucial data for making treatment decisions.

Rania, Afaf, Elsamani and Wisal, (2015) conducted a study on knowledge and performance of radiographers towards radiation protection in Taif, Saudi Arabia. This descriptive, cross–sectional study was conducted to patients and personnel and a review on radiation-safety status within the hospitals was made. In assessing the level of awareness, 173 staff and 218 patients took part in the study. A questionnaire was used to examine radiation-safety status and the level of radiation awareness among patients and staff. The results indicated 71.1 percent good radiation-safety awareness among employees. However, the level of employees’ awareness was not linked with educational level, field of study, gender, job experience and age. Conversely, only 6 percent of the patients have exhibited good awareness levels.

In Tehran, Iran, Dehghani, (2015) carried out a study on radiation safety awareness amongst patients and staff in 18 hospitals of Shahid Beheshti University of Medical Sciences. Patients and staff were given this descriptive, cross-sectional study, which also reviewed the hospitals' level of radiation safety. 218 patients and 173 members of the staff participated in the survey to assess the level of awareness. Radiation safety was assessed using a 12-question inventory. Additionally, two questionnaires with 15 and 6 questions, respectively, were utilized to assess the degree of radiation awareness among personnel and patients. The results showed that 71.1% of the staff members had good awareness of radiation safety. Additionally, there was no correlation between the level of staff awareness and age, gender, field of study, education level, or work experience. However, just 6 percent of the patients had high level of consciousness.

Safi, Sheybani and Namazi, (2014) examined academic training on radiation safety practice and awareness among Iranian residents. Cross-sectional research design was used and 685 Iranian residents and 40 fellows in the fields of radiology and cardiology were examined. A 13-item survey questionnaire was used to evaluate people's knowledge and practice with radiation safety. The subjects were split into two categories based on the educational opportunities offered in their medical facilities (trained vs untrained). Regarding knowledge of radiation handling instructions, familiarity with their centers' safety experts and their contact information, date of the most recent complete blood count (CBC) check, use of lead glass, an apron, and radiation shield, trained residents and fellows performed better than untrained ones.

Those who participated in formal training programs about the safety procedures at their academic institutions knew much more than those who did not. It is recommended that radiation safety education be provided to residents and fellows at the start of their residency or fellowship in a thorough and consistent manner across all medical universities.

Yurt, Çavuşoğlu and Gunay, (2014) evaluated the understanding of radiological exams and awareness of radiation protection among healthcare workers who utilize ionizing radiation at work. To assess their levels of knowledge regarding ionizing radiation as well as their awareness of radiation doses originating from radiological assessments, questionnaires were given to doctors, technicians, Nurses and other staff members in various clinics who use radiation. It was discovered that participants had very little understanding about ionizing radiation and doses used in radiological exams. Health professions that use ionizing radiation in their job lack sufficient general understanding about radiation, health concerns, radiation protection, and doses employed for radiological use.

Paolicchi, Miniati and Bastiani (2016) conducted an assessment among Italian radiographers of radiation protection knowledge and awareness pertaining to radiological examination doses. 780 participants with evenly distributed regional and demographic features received a validated questionnaire. Just 12.1 percent of respondents regularly go for radiation protection training. Practically all radiographers underestimated radiation dose of approximately all radiological operations, despite the fact that 90% of them claimed to be sufficiently informed of radiation protection issues. Radiographers need to significantly increase both their knowledge of radiological processes and their awareness of radiation protection issues. To guarantee patient safety in the course of radiological examinations, specific actions including routine training courses for postgraduate and bachelor’s students and professional radiographers should be taken into consideration.

In Uganda, Kiguli-Malwadde, Matovu, Kawooya and Byanyima, (2020) examined radiation safety awareness on clientele and radiation workers in Mulago Hospital. Two separate questionnaires were used to interview the subjects, and each was designed

with the radiation workers and the patient (clientele) in mind. Before beginning to work with radiation, the majority of respondents indicated that they had earlier received a radiation safety sensitization introduction. However, a third of the healthcare professionals felt that the workplace's radiation safety procedures needed improvement. It was observed that while radiation technicians were knowledgeable about radiation safety, patients frequently exhibited ignorance and many believed that x-rays were harmful.

# Control Measures Applied by the Staff to Reduce the Risk of Radiation

World Health Organization (2018) indicates that control measures of radiation levels provide proper level of protection for the environment and people against detrimental effects of radiation exposure without unduly regulating benefits that may be related with such exposure. Control measures are based on the principles of individual-related RP principles (applying dose limits) and two source-linked RP principles (justifying procedures/practices, optimization of safety that is ALARA principle). The ALARA principle is a widely recognized cornerstone for improving radiation protection, or for substituting it (Dehghani, 2015). This rule states that, even if it's a small dose, you should strive to avoid taking it if it will not directly benefit you (Land, Bouville & Apostoaei, 2010). Time, shielding and distance are the three fundamental radiation safety precautions that can be used in this situation.

According to Ko, Chung, and Cho, (2017), radiation employees can use distance, shielding and time, to control and reduce their exposure to penetrating radiation. The employees’ dose is directly inversely proportional to the time they are exposed to source of radiation. The dose received is directly influenced by time; if you spend as little time as possible close to the source, the dose you receive is reduced. For instance, if possible, interview a patient for nuclear medicine before drug administration rather than after. The authors further emphasized that, where necessary, the distance between the body and the radiation source should be increased (e.g., x-ray tube, sealed source). The inverse of square of the distance determines the rate of radiation exposure from a source. For example, if a problem emerges during fluoroscopy operation, stand on C- image arm's intensifier side if possible, or if possible, move away from patient while

not providing assistance. Third exposure regulation method relies on the use of suitable radiation shielding, on-site radiation monitoring equipment and automatic interlock systems. This form of regulation is typically incorporated into particular facility, such as concrete walls next to radiation oncology accelerator, with exemption of portable or temporary shields, leads or lead equivalent aprons and protective curtains.

Ploussi and Efstathopoulos, (2016) examined the importance of developing radiation protection culture within Radiology Department. Radiation protection culture was considered a combination of practices, attitudes, rules and beliefs among professionals, patients and staff concerning radiation protection. Rather than creating an RPC, the challenge is typically to improve it. In order to develop an RPC, it is necessary for the employees to receive ongoing training, for stakeholders at all levels to communicate professionally, and for quality assurance processes to be put in place. The highest level is  driving  the  development  of  the  RPC.  Leadership,  associate, and professionals’ societies are acknowledged to be crucial in promoting and embedding RPC in medical units. Creation of an RPC makes it possible to lower the radiation dosage, increase awareness of radiation risk, reduce risky behavior, and raise the standard of a radiation protection program.

Land, Bouville and Apostoaei, (2010) examined radiation protection of the public and workers in interventional and diagnostic radiology in Marshall Islands. The target population was individuals working in interventional and diagnostic radiology departments. The results indicated that in all fields of medicine, the guidelines for ionizing radiation safety for workers are focused on preventing deterministic impacts and reducing the danger of stochastic effects (cancer). The use of personal protective equipment, individual (personal) radiation monitoring, and design of facilities and imaging equipment, including the designation of workplaces as controlled and supervised areas, are all effective ways to reduce occupational exposure in interventional and diagnostic radiology (lead lined aprons, leaded glass eyewear, thyroid shields, protective screens, etc.) Reducing the amount of time a person is exposed to radiation and (v) getting as far away from the radiation source as possible while still performing the necessary work tasks. Education and training are necessary for all of these tasks and are also a requirement for the creation of safe working

practices. The doses for patients and personnel are influenced by a variety of common factors. It is important to keep in mind that every action that lowers patient dose also lowers staff dose, while the opposite is not true.

The current state of radiation safety in diagnostic radiology in Africa was examined by Muhogora and Rehani, (2017). In research conducted in African nations, papers on radiation doses to patients that were published up until 2016 were examined. The modalities covered were mammography, CT, interventional radiology, and radiography. The DRLs established by the National Council on Radiation Protection and Measurements, the European Commission, and the International Atomic Energy Agency were not met by the entrance surface air kerma values in radiography. When compared to previous published findings from wealthy nations, patient and staff dosages during interventional procedures were not excessive. The dose length product values in CT were frequently greater than the DRLs. The differences in clinical image quality and dose to the standard breast between African nations and other nations in mammography were negligible.

Alsafi, (2016) assessed radiation Protection in X-ray CT. The aim of this research was to assess dose management as well as optimization approaches, assess radiation protection methods used in CT scanning, and discuss concerns regarding growing population exposure during CT operations. Regular dose surveys, CT exposure parameter optimization, the establishment and/or use of DRLs, the implementation of thorough quality assurance program, CT dose-saving techniques and reference dose levels, are all necessary for radiation protection in CT.

Iran's Kermanshah radiology departments were evaluated in terms of their level of protection by Rostamzadeh, Farzizadeh, and Fatehi, (2015). In three hospitals in Kermanshah, Iran, 48 Radiologists and 8 radiography rooms were examined altogether. The study found that Radiographers had access to more than 50 percent of radiation protective equipment. Only two thirds of the radiographers who performed radiographic operations actually used the film badges. Additionally, the majority of radiographers stated that they regularly underwent medical examinations, yet less than half of them had done so according to records found in personnel offices. Therefore,

the majority of radiographers showed no consideration for the patients' or their own radiation safety.

Abuzaid, Elshami, and Shawki, (2019) assessed the radiology department's adherence to radiation safety. Radiographers participated in a cross-sectional study that involved 210 self-administered questionnaires. Radiation protection was not implemented very effectively in 40% of the radiographers' practices. As a result, proactive measures and remedial actions are required to increase the awareness of radiation protective techniques among radiographers. Radiographers who were older and had more experience had much higher adherence scores.

In a scenario of constrained resources, Nkubli, Nzotta, and Luntsi, (2017) conducted a survey on the diagnostic x-ray imaging facilities’ structural design and compliance with shielding design objectives. Three radio diagnostic centers located in Southeast Nigeria, designated X, Y, and Z for anonymity, were the locations of the survey. In order to determine the size of the x-ray chamber, a stretched, non-elastic meter rule was employed. Center X's room measured 2.4 m by 2.1 m, Center Y's x-ray room was

3.6 m by 3.3 m, and Center Z had two similar x-ray rooms that were each 6.3 m by 3.6 m in size. In each of the centers, the exit radiation doses for the controlled areas were 0.00152 mSv/wk, 0.00496 mSv/wk, 0.00168 mSv/wk, and 0.00224 mSv/wk. The most often utilized shielding substance was lead. According to the factors examined, Center Z's room dimensions and design were ideal. Except for Center Z, none of the centers had the relative distances between x-ray tubes and closest walls enhanced. With exception of Center Y, measured exit dosages were within acceptable ranges. The placement of control consoles as well as measured doses was suitable and in line with suggested design objectives.

# CHAPTER THREE MATERIALS AND METHODS

# Study Design

The study adopted a cross-sectional study design. The researcher measured the exposure levels. The design helped in determining the effectiveness of radiation protection in the detection of exposures among healthcare workers in level 4 and 5 hospitals in Nyeri County.

# Study Area and Population

The County Government of Nyeri is one of the 47 Counties in the Republic of Kenya that was established under the constitution of Kenya 2010. Nyeri County is located in the central region of the country and covers an area of 3,337.2 Km2. The County borders Laikipia County to the north, Kirinyaga County to the east, Murang’a County to the south, Nyandarua County to the west and Meru County to the northeast. Nyeri county has a population of 752, 695 (Nyeri County Government, 2020).

To contextualize the study location, Figure 3.1 illustrates the geographical boundaries of Nyeri County, where the selected Level 4 and 5 hospitals are situated.

# Figure 3.1: Map of Nyeri County

There are four level 4 and 5 health facilities in Nyeri County: Nyeri Level 5 Hospital, Karatina Level 4 Hospital, Othaya Level 4 Hospital and Mukurwe-ini Level 4 Hospital. Previously known as the Nyeri Provincial General Hospital (PGH), the Nyeri County Referral Hospital is a level 5 located in Kangemi sub-location, Mukaro location in Nyeri Town constituency. It has a bed capacity of 407 and offers services such as renal unit, laboratory, operating theatre, nutrition, emergency and accidents, pharmacy, radiology, comprehensive care unit, physiotherapy, dental service, orthopedic, eye unit, pediatric ward, maternity ward, intensive care unit and surgical ward (Nyeri County Government, 2020).

Karatina Hospital is a level 4 Government hospital located in Kiharo Sub-location, Konyu location, Mathira Division, Mathira Constituency in Nyeri County (Nyeri County Government, 2020). Othaya Level 4 Hospital is a Government/Public Hospital located in Othaya, in Nyeri County, Kenya. The facility has a bed capacity of 59 beds

and is located next to Kenyatta National Hospital Othaya Annex (Nyeri County Government, 2020). Mukurwe-ini Level 4 Hospital is a health facility located in Mukurwe-ini Sub-County of Nyeri County.

The target population of the study was 1121 staff. working in the health facilities. The study population was 294 staff working in the health facilities (Nyeri County Government, 2020).

Table 3.1 presents the distribution of staff in each facility, which informed the sampling framework.

Table 3.1: Target Population

Health Facility	Staff Population

Nyeri Level 5 Hospital	586

Karatina Level 4 Hospital	250

Othaya Level 4 Hospital	128

Mukurwe-ini Level 4 Hospital	157

Total	1,121

Source: Nyeri County Government (2020)

# Inclusion Criteria

      - All the staff involved directly in the provision of healthcare services

      - All the staff working in level 4 and 5 health facilities for more than 6 months

# Exclusion Criteria

      - Staff working in level 4 and 5 health facilities for less than 6 months.

# Sampling Method

Stratified random sampling method was adopted to choose a sample size from the target population. After categorization, a number proportional to the size of the stratum and, a random sample was acquired from each stratum when contrasted with the population (Kothari, 2012). In this research, the strata were the four health facilities.

# Sample Size Determination

Slovin's Formula was utilized to establish the sample size. This formula was chosen since it takes size of the population into consideration.

𝑁

𝑛 = 1 + 𝑁𝐸2

Whereby: n = no. of samples; N = Population (1,121); E = error margin / margin of error (0.05)

1121

𝑛 = 1 + (1121 ∗ 0.052)

𝑛 = 294

Table 3.2 shows the breakdown of sample size per facility.

# Table 3.1: Sample Size (Proportional Allocation Formula)

| Health Facility | Staff Population | Sample Size |
| --- | --- | --- |
| Nyeri Level 5 Hospital | 586 | 153 |
| Karatina Level 4 Hospital | 250 | 66 |
| Othaya Level 4 Hospital | 128 | 34 |
| Mukurwe-ini Level 4 Hospital | 157 | 41 |
| Total | 1,121 | 294 |

To ensure the integrity and relevance of the data collected, several assumptions guided the sample selection process. It was assumed that healthcare workers operating in Level 4 and 5 hospitals within Nyeri County share comparable occupational environments, exposure risks, and access to radiation-emitting equipment, thereby justifying their inclusion as a unified target population.

Stratified random sampling was employed across four hospitals to ensure proportional representation, based on the assumption that this approach would capture institutional diversity in staffing and operational practices.

Only individuals with a minimum of six months of service were included, under the assumption that this duration was sufficient for meaningful exposure to radiological procedures and institutional safety protocols.

Slovin’s formula was used to determine the sample size, assuming its suitability for estimating representative samples from a known population where variability is not precisely defined.

It was assumed that participants would provide accurate and honest responses to the survey instruments, and that dosimeter readings would reliably reflect actual occupational exposure.

A pilot study conducted at Murang’a Level 5 Hospital was presumed to validate the reliability and clarity of the research instruments, thereby enhancing the robustness of the main study’s data collection process. These assumptions were foundational to achieving the study’s objectives, particularly in assessing exposure levels, evaluating safety practices, and identifying gaps in radiation protection compliance.

# Research Instrument

The informed consent outlines the purpose of the research (appendix I)

Individual measurement analysis on radiation exposure was done using optical stimulated luminescence dosimeter (OSLD) and radiation meters for the room surveys (Appendix II)

Primary data was collected by use of semi-structured questionnaires and a data collection checklist (Appendix III).

All Dosimeters measure Alpha, Beta, Gama or X-ray radiation levels. OSLD uses a process where pre-irradiated material when subjected to an appropriate optical stimulation emits a light signal proportional to the absorbed dose. The detector releases the stored energy in form of light. The wavelength of the emitted light is the characteristic of OSLD material. The light output is measured with Photomultiplier tool (Akdag, Dasdag & Canturk, 2018).

To address the first objective—determining radiation exposure levels in radiology departments both quantitative measurement tools and observational techniques were employed. The study utilized Optically Stimulated Luminescence Dosimeters (OSLDs) to monitor occupational exposure among twenty radiology staff members across all Level 4 and 5 hospitals in Nyeri County. These dosimeters were worn by participants during routine procedures to capture cumulative radiation doses over a defined period.

In addition, a survey meter was used to assess ambient radiation levels within various zones of the radiology departments. Measurements were taken in background areas, controlled areas (where radiation exposure is expected and regulated), and uncontrolled areas (accessible to the general public). This spatial assessment provided insight into the distribution and containment of radiation within the facilities.

To standardize exposure conditions, a lumbar spine X-ray examination was selected as the reference procedure. The exposure parameters were set at 81 kVp, 200 mA, 40 mAs, and 100 ms, reflecting typical clinical settings. The measured doses were then compared against the International Commission on Radiological Protection (ICRP) recommended limits—20 mSv per year for occupationally exposed workers and 2 mSv per year for members of the public.

These instruments and procedures enabled the study to generate empirical data on radiation exposure levels, forming the basis for evaluating compliance with safety standards and identifying potential areas for improvement in radiation protection practices. The role of data collection checklist was to offer a direct view concerning the appropriate information that could be obtained from secondary sources or during measurement of variables (Bryman & Cramer, 2012).

Radiation exposure among staff was measured using Optically Stimulated Luminescence Dosimeters. Plate 3.1 displays the device used in this process.

# Plate 3.1: Photos of Optical Stimulated Luminescence Dosimeter

A radiation safety assessment survey was also conducted in the background, controlled and uncontrolled areas of radiology departments. Exposure parameter for lumber spine x- ray examination used were 81kvP,200 mAs, 40mAs 100ms

Ambient radiation levels in various zones were assessed using a survey meter. Plate

3.2 presents the radiation detector used for this purpose.

# Plate 3.2: Photo of Radiation Detector Meter

The second objective of the study was to assess the level of awareness of the hazards of radiation among staff working in level 4 and 5 hospitals in Nyeri County. The study used nominal scale and five-point Likert scale to collect data on the level of awareness to the hazards of radiation among staff (Appendix III). Nominal scale was used to

collect data on training on hazards of radiation, maximum permissible dose limit for adult radiation workers and organ(s) radiation can be hazardous too. A five-point Likert scale was used where 1 represents strongly disagree, 2 represents Disagree, 3 represents Neutral, 4 represents Agree and 5 represents strongly agree.

The third objective of the study was to evaluate control measures applied by the staff in level 4 and 5 hospitals in Nyeri County. Data was collected by use of a semi structured questionnaire (Appendix IV). The structured questions were on a nominal scale and Likert scale. The nominal scale covered a question on types of shielding to prevent exposure and factors put into consideration in the control of radiations exposure. A five-point Likert scale was used where 5 represented a very great extent, 4 represented great extent, 3 represented moderate extent, 2 represented low extent and 1 represented no control at all. The unstructured questions were used to collect data on other shielding equipment used in the prevention of exposure by staff working in radiology departments. Unstructured questions encouraged the respondent to give an in-depth and felt response without feeling held back in revealing any information. A checklist was also used to collect data on control measures.

A drop off and pick-up later method was used to administer the questionnaires to the staff of the facilities. Monitoring of the questionnaire filling progress was done through follow up which was done on weekly basis. Through this the researcher developed a rapport with the respondent hence being able to brief on the study purpose and also clarify the items which were not clear to the respondent.

# Data Processing and Analysis

The semi structured questionnaire generated quantitative and qualitative data. Analysis of qualitative data was done through the use of thematic analysis and then presentation of the results was done in a narrative form. Quantitative data was analyzed by use of both descriptive and inferential statistics with the help of a statistical software known as the statistical package for social sciences (SPSS version 27) as a tool. Descriptive statistics include frequency distribution, percentages, measures of central tendencies (mean), and measures of dispersion (standard deviation) (Creswell, 2014). Descriptive statistics were used to assess the level of awareness of the hazards and to evaluate

control measures applied by the healthcare workers in the facilities. This was followed by inferential statistics which include chi-square (X2). The inferential statistics were used to assess the relationship between awareness, the use of radiation in the radiology department, and healthcare workers’ exposure to radiation. Presentation of results was done in tables and figures through bar charts and pie charts. The confidence level of 95 percent was used; this is an indication of a significance level of 0.05. This implied that, for there to be a significant relationship between independent variables and the dependent variable, the p-value has to be below the significance level (0.05).

# Data Validation

A pre-test was carried out to identify and rephrase misinterpreted, misunderstood of ambiguous questions. Further, the pre-test helped in typographical errors removal and in the determination of whether the questions asked were appropriate and relevant. The pilot group was obtained from Murang’a Level 5 Hospital and comprised of 10% of the sample size. According to Egbert, (2015), 10 % of study sample expected for complete study must be employed in study sample size.

Validity helped in ensuring that objective questions were included in the questionnaire. This was achieved by pre-testing the instrument to be used to identify and change any ambiguous, awkward, or offensive questions and technique Kothari, (2012). The validity of the research instruments was also established by pre-testing of data collection instruments, review by supervisors and use of standard interview guides. The improvement of content validity was done by getting the help of professionals in the field of occupational safety and health, especially the supervisors. In addition, by performing a pretest and also changing unclear or ambiguous questions, instrument's face validity in this study was improved.

A pre-test was used to test the reliability of the research instruments. An internal consistency technique was applied using Cronbach’s Alpha. The alpha value ranges between 0 and 1 with reliability increasing with the increase in value. According to Kothari ,(2012), Cronbach’s Alpha coefficient of 0.6-0.7 is a commonly accepted rule of thumb that indicates acceptable reliability and 0.8 or higher indicates good reliability. In this study, 0.7 Cronbach’s Alpha was considered acceptable.

# Ethical Issues

The following approvals were issued from the following institutions: Research Proposal and Appointment of Supervisors from the Office of Director, Board of Post Graduate Studies. (Appendix V), JKUAT Institutional Scientific and Ethics Review Committee (appendix VI) and National Commission for Science, Technology and Innovation (NACOSTI) (Appendix VII)

# CHAPTER FOUR RESULTS AND DISCUSSION

# Response Rate

The sample size of this study was 294 healthcare workers in the four health facilities: The response rate is shown in Table 4.1.

# Table 4.1: Response Rate

|  | Frequency | Percent |
| --- | --- | --- |
| Responses | 258 | 87.8 |
| Non-responses | 36 | 12.2 |
| Total | 294 | 100 |

Table 4.1 shows that out of the 294 questionnaires that were distributed, 258 responses were returned, which gives a response rate of 87.8%. Babbie (2017) observed that a 75 percent response rate is adequate for data analysis, drawing conclusions as well as making recommendations. This denotes that the 87.8% response rate in this study was adequate and acceptable for data analysis, drawing conclusions, and making recommendations.

# Demographic Information

The demographic information of the participants in the study included their gender, age bracket, highest level of education attained, nature or work, and occupational experience. These variables are essential for interpreting the findings in relation to staff awareness and exposure to radiation as presented in Table 4.2.

| Table 4.2: Demographic | Information |  |  |
| --- | --- | --- | --- |
|  |  | Frequency | Percent |
| Gender Male |  | 135 | 52.3 |
| Female |  | 123 | 47.7 |
| Age Bracket 19-30 years |  | 147 | 57.0 |
| 31-42 Years |  | 72 | 27.9 |
| 43 Years and above Highest Level of Attained | Education | 39 | 15.1 |
| PhD |  | 8 | 3.1 |
| Master’s Degree |  | 12 | 4.7 |
| Bachelor’s degree |  | 139 | 53.9 |
| Diploma |  | 72 | 27.9 |
| Certificate |  | 10 | 3.9 |
| Secondary |  | 17 | 6.6 |
| Nature of Work Doctors |  | 9 | 3.5 |
| Nurses |  | 97 | 37.6 |
| Radiologists |  | 20 | 7.8 |
| Pharmacists |  | 21 | 8.1 |
| Biomedical Engineers |  | 28 | 10.9 |
| Others |  | 83 | 32.2 |
| Occupational Experience 1 year< |  | 45 | 17.4 |
| 2-5 years |  | 88 | 34.1 |
| 6-10 years |  | 66 | 25.6 |
| 11-15 years |  | 35 | 13.6 |
| 15 years> |  | 24 | 9.3 |

47.7

52.3

gender	male	female

# Figure 4.1: Gender Distribution of Respondents

60

57

50

40

30

27.9

Percent

20

15.1

10

0

19-30 years

31-42 Years

Age

43 Years and above

Frequency %

Figure 4.1 shows that 52.3% (135) of the respondents were male, while 47.7% (123) were female. The gender distribution is fairly balanced, with a slight majority of male participants (52.3%). This suggests that the study sample is representative of both genders, which can help in generalizing the findings across a broader population.

# Figure 4.2: Age Bracket

53.9

27.9

Percent

6.6

3.1

4.7

3.9

Level of education

Frequency %

Figure 4.2 shows that the majority of respondents, 57.0% (147), were within the age bracket of 19-30 years, indicating a predominantly younger demographic. A substantial portion, 27.9% (72) of the respondents, were aged between 31-42 years, while a smaller percentage, 15.1% (29), were aged above 43 years. This could imply that the study's findings are more reflective of the perspectives and experiences of younger individuals.

# Figure 4.3: Level of Education

Table 4.3 showed that a significant number of participants (53.9%) had attained a bachelor’s degree, followed by those with a Diploma (27.9%). This indicated that the participants were generally well-educated, which could influence their knowledge, attitudes, and behaviors related to the study.

Frequency %

40

35

30

25

20

15

10

5

0

37.6

32.2

7.8

8.1

10.9

3.5

Percent

Nature of work

Figure 4.4: Nature of Work

40

35

30

25

20

15

10

5

0

34.1

25.6

17.4

13.6

9.3

Percent

1 year<	2-5 years	6-10 years	11-15 years	15 years>

Occupational experience

Frequency %

Figure 4.4 showed the nature of work. Nurses made up the largest group of participants (37.6%), followed by those in the "Others" category (32.2%) – (which included other carders). 7.8 % of the staff indicated that they were Radiologists, 10.9% were Biomedical Engineers and 8.1% were pharmacists. This suggests that the study could be heavily influenced by the experiences and perspectives of nurses.

# Figure 4.5: Occupational Experience

Figure 4.5 showed occupational experience. Most participants had 2-5 years of occupational experience (34.1%), indicating that the sample consisted largely of

individuals in the early to mid-stages of their careers. This could affect the study's outcomes, as these participants may have had different insights compared to those with more extensive experience. In addition, 25.6% of the respondents indicated that they had an occupation experience of between 6 and 10 years, 17.4% indicated below 1 year, 13.6% indicated between 11 and 15 years while 9.3% indicated above 15 years.

# Radiation Exposure Levels in the Radiology Departments

The first objective of the study was to determine radiation exposure levels in the radiology departments in level 4 and 5 hospitals in Nyeri County. OSLD were used to measure exposure levels on radiology staff, and a survey meter was used to measure exposure levels in the radiology department. Radiation exposure levels in the radiology departments were obtained from Othaya Level 4 Hospital, Karatina level 4 Hospital, Mukurwe-ini level 4 Hospital and Nyeri Level 5 Hospital. These doses were then compared with the International Commission on Radiological Protection (ICRP) guidelines of 20 mSv per year for occupational workers and 2 mSv per year for members of the public.

The exposure parameters for the lumbar spine X-ray examination include a kilovoltage peak (kVp), which determines the energy and penetrating power of the X-ray beam, making it suitable for visualizing the spine. The milliampere (mA), controlling the number of X-ray photons produced to ensure a clear and detailed image. The milliampere-seconds (mAs), indicating the total quantity of X-ray photons produced during the exposure, balancing image quality and patient dose. Lastly, the exposure time is milliseconds (ms), a short duration that minimizes motion blur while capturing a clear image.

# Radiation Exposure Levels in Othaya Level 4 Hospital

Othaya Level 4 Hospital had a fixed general X-ray unit used for medical diagnostic purposes. Table 4.3 shows various exposure rates at different locations in the facility that houses the X-ray Unit. Exposure parameters for lumbar spine X-ray examination were used (81KVP 200mA 40mAs 100ms).

# Table 4.3: Radiation Exposure Levels in Othaya Level 4 Hospital (X-ray room)

Exposure;	81KVP	200mA	Exposure rates and computed annual Dose

| 40mAs 100ms |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Designation | Location | X1 Hourly rates (µSv/hr) | X2 Hourly rates (µSv/hr) | X3 Hourly rates (µSv/hr) | Average Hourly rates (µSv/hr) | Annual dose (mSv) |
| Background | X-ray room | 0.27 | 0.25 | 0.26 | 0.26 | 1.77 |
| Controlled | Behind the console barrier lead glass Behind the | 3.00 2.60 | 3.06 2.40 | 3.03 2.30 | 3.03 2.40 | 1.91 1.88 |
|  | console barrier Staff entry door | 0.46 | 0.48 | 0.47 | 0.47 | 1.78 |
|  | Patient entry door | 0.25 | 0.30 | 0.28 | 0.28 | 1.77 |
|  | Exposure position | 0.80 | 0.78 | 0.76 | 0.78 | 1.79 |
| Uncontrolled | Behind concrete wall Corridor and | 0.29 0.57 | 0.25 0.55 | 0.25 0.58 | 0.26 0.57 | 1.77 1.78 |
| area | patient waiting area. |  |  |  |  |  |

Table 4.3 showed the annual dose for the X-ray room was 1.77 mSv. In the controlled area, the annual dose behind the console barrier lead glass was 1.91 mSv, behind the console barrier it was 1.88 mSv, the staff entry door was 1.78 mSv, the patient entry door was 1.77 mSv and behind the concrete wall was 1.77 mSv. In the uncontrolled areas (corridors) and patient waiting areas, the annual dose was 1.78 mSv. The findings of the study indicate that the annual dose of radiation in the radiology department of Othaya Level 4 Hospital was below 2.0 mSv in uncontrolled areas and significantly below the 20 mSv limit in controlled areas, suggesting adherence to international safety standards for radiation exposure. This is consistent with Nassef and Kinsara’s (2017) study, which found that occupational radiation doses for medical workers were well below the recommended 20 mSv annual limit. These findings underscore the effectiveness of current radiation protection measures and align with the World Health Organization's (2018) emphasis on minimizing unnecessary radiation exposure to protect both patients and healthcare workers. Furthermore, the relatively low exposure levels in both controlled and uncontrolled areas highlight the successful implementation of protective barriers and protocols in the radiology department, reflecting a well-managed radiation safety culture similar to those observed in other studies from diverse healthcare settings around the world.

# Table 4.4: Dosimeter Readout for Othaya Level 4 Hospital

| Participants | Product | 01/11/2023- | Cumulative dose |
| --- | --- | --- | --- |
|  |  | 30/11/2023 |  |
|  |  | Hp (10) Hp (007) | Hp (10) Hp (007) |
| P01728 | XA030389906U: | 0.21 0.21 | 0.21 0.21 |
| P01744 | Inlight XA03089667S: Inlight | 0.22 0.22 | 0.22 0.22 |

Table 4.4 shows the results of the Dosimeter readout of Othaya level 4 hospital. The dosimeter readout at the Othaya Level 4 Hospital revealed cumulative radiation doses for staff between 0.21 mSv and 0.22 mSv, both for the organ dose Hp (10) and the superficial dose Hp (007). This indicated that the radiation exposure levels at this hospital were well within safe limits, aligning with international standards. This finding was consistent with the study by Nassef and Kinsara (2017), which reported that the yearly average effective doses for medical radiation employees in diagnostic radiology, nuclear medicine, and radiotherapy were significantly below the recommended dose limits of 20mSv per year. Both studies highlighted that with proper monitoring and safety protocols, occupational radiation exposure in medical settings can be maintained at safe levels. The implications are clear: effective radiation safety measures and regular monitoring are crucial in minimizing health risks for medical staff, thus ensuring a safe working environment. Rigorous radiation protection practices and the implementation of appropriate safety measures should be adhered to as advocated by the World Health Organization (2018) and other related studies.

# Radiation Exposure Levels in Mukurwe-Ini Level 4 Hospital

Mukurwe-Ini Level 4 Hospital has a fixed general X-ray unit used for medical diagnostic purposes. Table 4.5 shows various exposure rates at different locations in the facility that houses the X-ray Unit. Exposure parameters for lumbar spine X-ray examination were used (81KVP 200mA 40mAs 100ms). The results were as presented in Table 4.5.

# Table 4.5: Radiation exposure levels in Mukurwe-Ini Level 4 Hospital (X-ray room)

Exposure;	81KVP	200mA	Exposure rates and computed annual Dose

| 40mAs 100ms |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Designation | Location | X1 | X2 | X3 | Average | Annual |
|  |  | Hourly | Hourly | Hourly | Hourly | dose |
|  |  | rates | rates | rates | rates | (mSv) |
|  |  | (µSv/hr) | (µSv/hr) | (µSv/hr) | (µSv/hr) |  |
| Background | X-ray room | 0.26 | 0.26 | 0.26 | 0.26 | 1.77 |
| Controlled | Behind the | 0.71 | 0.69 | 0.70 | 0.70 | 1.79 |
|  | console barrier |  |  |  |  |  |
|  | lead glass |  |  |  |  |  |
|  | Behind the | 0.25 | 0.27 | 0.26 | 0.26 | 1.77 |
|  | console barrier |  |  |  |  |  |
|  | Staff entry door | 4.76 | 4.75 | 4.76 | 4.76 | 2.00 |
|  | Patient entry | 1.93 | 1.92 | 1.92 | 1.92 | 1.85 |
|  | door |  |  |  |  |  |
|  | Sky shines to | 0.25 | 0.26 | 0.28 | 0.26 | 1.77 |
|  | console area |  |  |  |  |  |
|  | Behind concrete | 0.29 | 0.25 | 0.25 | 0.26 | 1.77 |
|  | wall |  |  |  |  |  |
| Uncontrolled | Corridor and | 0.25 | 0.26 | 0.28 | 0.26 | 1.77 |
| area | patient waiting |  |  |  |  |  |
|  | area |  |  |  |  |  |

As shown in Table 4.5 the annual dose of the X-ray room was 1.77 mSv. In the controlled area, the annual dose behind the console barrier lead glass was 1.79 mSv, behind the console barrier it was 1.77 mSv, the staff entry door was 2.0 mSv which was slightly higher though still below the recommended value of 20mSv per year. The patient entry door had 1.85 mSv and behind the concrete wall was 1.77 mSv. In the uncontrolled area (corridors and patient waiting areas), the annual dose was 1.77 mSv. These findings imply that the annual dose in the radiology department in the controlled area was below 20mSv and below 20mSv and the uncontrolled area, indicating a safe environment for both staff and patients. This outcome aligns with the results of Nassef and Kinsara (2017), who reported that occupational radiation doses for medical workers in diagnostic radiology departments at a university hospital were well below the global recommended dose limit of 20 mSv, with an average yearly effective dose of 0.28 to 1.56 mSv. These consistent findings across different studies reinforce the effectiveness of current radiation protection measures and emphasize the importance of maintaining strict safety protocols to minimize radiation exposure risks in medical

settings. These findings agree with Ahmad, Abdalla, and Bartenhagen (2019) findings that the annual maximum exposure levels among health workers should be below 20 mSv per year and below 2mSv for members of the public per year.

# Table 4.6: Dosimeter Results for Mukurwe-ini Hospital

Participants	Product	 01/11/2023- 30/11/2023	Cumulative dose

|  |  | Hp (10) | Hp (007) | Hp (10) | Hp (007) |
| --- | --- | --- | --- | --- | --- |
| P01725 | Xa03012641R: | 0.21 | 0.21 | 0.21 | 0.21 |
|  | Inlight |  |  |  |  |
| P01726 | XA030896218: | 0.17 | 0.17 | 0.17 | 0.17 |
|  | Inlight |  |  |  |  |
| P01727 | XA0303900689: | 0.18 | 0.18 | 0.18 | 0.18 |

Inlight

Table 4.6 showed the results of the Dosimeter readout of Mukurwe-ini level 4 hospital. The cumulative dose of the staff was between 0.17mSv - 0.21mSv for both the organ dose Hp (10) and superficial dose Hp (007) which was well below the recommended safety limits for occupational exposure to radiation. This implied that the hospital's radiology department effectively managed radiation exposure, ensuring the safety of its staff. Linking these results to previous studies, Nassef and Kinsara (2017) found that occupational radiation doses at a University Hospital were similarly below international limits, reinforcing the importance of proper radiation safety measures. Both studies underscore the necessity of maintaining rigorous radiation protection protocols to mitigate potential health risks, as highlighted by the World Health Organization (2018), which stresses the need for a public health strategy to manage radiation exposure in medical settings.

# Radiation Exposure Levels in Karatina Level 4 Hospital

Karatina Level 4 Hospital has a fixed general X-ray unit used for medical diagnostic purposes.

Table 4.7 shows various exposure rates at different locations in the facility that houses the X-ray Unit. Exposure parameters for lumbar spine X-ray examination were used (81KVP 200mA 40mAs 100ms).

# Table 4.7: Radiation Exposure Levels in Karatina Level 4 Hospital (X-Ray Room)

Exposure; 82 KVP 500mA	Exposure rates and computed annual Dose

| Designation | Location | X1 Hourly rates | X2 Hourly rates | X3 Hourly rates | Average Hourly rates | Annual dose (mSv) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | (µSv/hr) | (µSv/hr) | (µSv/hr) | (µSv/hr) |  |
| Background | X-ray room | 0.26 | 0.26 | 0.26 | 0.26 | 1.77 |
| Controlled | Behind the console barrier lead glass Behind the | 0.30 0.30 | 0.29 0.32 | 0.28 0.31 | 0.29 0.31 | 1.77 1.77 |
|  | console barrier Staff entry door | 0.27 | 0.26 | 0.25 | 0.26 | 1.77 |
|  | Patient entry door Behind concrete | 0.27 0.25 | 0.29 0.26 | 0.28 0.28 | 0.28 0.26 | 1.77 1.77 |
| Uncontrolled | wall Corridor and | 0.29 | 0.25 | 0.25 | 0.26 | 1.77 |
| area | patient waiting area |  |  |  |  |  |

As shown in Table 4.7, the annual dose for the X-ray room was 1.77 mSv. In the controlled area, the annual dose behind the console barrier lead glass was 1.77 mSv, behind the console barrier it was 1.77 mSv, the staff entry door was 1.77 mSv, the patient entry door was 1.77 mSv and behind the concrete wall was 1.77 mSv. In the uncontrolled areas including the corridors and patient waiting area, the annual dose was 1.77 mSv. The study revealed that the annual dose (mSv) for different locations within the X-ray room and its surrounding areas consistently measured at 1.77 mSv, highlighting uniform radiation exposure across controlled and uncontrolled zones. This consistency implies strict adherence to safety protocols, ensuring radiation exposure levels are within permissible limits, mitigating health risks to both patients and staff. These findings align with Nassef and Kinsara's (2017) study, which showed occupational radiation doses in diagnostic radiology departments were significantly below the recommended limit, demonstrating effective radiation management practices. Such results underscore the importance of robust radiation safety measures to minimize stochastic and tissue reactions as emphasized by the World Health Organization (2018), reinforcing the necessity for continuous monitoring and stringent control measures in radiological environments. The findings agree with Lee, Choi and

Ko, (2018) observation that radiation exposure levels should be below 20 mSv among healthcare workers and 2.0 in the general public.

# Table 4.8: Dosimeter Results for Karatina Level 4 Hospital

Participants  Product	01/11/2023- 30/11/2023   Cumulative dose

|  |  | Hp (10) | Hp (007) | Hp (10) | Hp (007) |
| --- | --- | --- | --- | --- | --- |
| P01729 | XA02400746H: | 0.18 | 0.18 | 0.18 | 0.18 |
|  | Inlight |  |  |  |  |
| P01730 | XA02935353E: | 0.19 | 0.19 | 0.19 | 0.19 |
|  | Inlight |  |  |  |  |
| P01731 | XA037472293: Inlight | NR | NR | NR | NR |
| P01732 | XA037893415: Inlight | 0.26 | 0.26 | 0.26 | 0.26 |

Table 4.8 showed the results of the Dosimeter readout of Karatina level 4 hospital. The cumulative dose of the staff was between 0.18mSv - 0.26mSv for both the organ dose Hp (10) and superficial dose Hp (007).

The reported doses for Hp (10) and Hp (007) are consistent for each participant, indicating reliable measurements.

The doses range from 0.18 mSv to 0.26 mSv, which were relatively low and well within safe limits for occupational exposure. The ICRP recommends an annual dose limit of 20 mSv for occupational exposure.

One participant had no reported data (NR) for both Hp (10) and Hp (007), as they misplaced the dosimeter.

Overall, the dosimeter results indicate that the radiation exposure levels for the participants at Karatina Level 4 Hospital are within safe limits, reflecting effective radiation protection measures.

# Radiation Exposure Levels in Nyeri Level 5 Hospital

Nyeri Level 5 Hospital has a fixed general X-ray unit used for medical diagnostic purposes. The facility also has dental Orthopantomagram (OPG), a Mammography

unit and a CT Scan unit. Premise visual survey and Radiation safety assessment were done. The results were presented as follows:

# Table 4.9: Radiation Exposure Levels in Nyeri Level 5 Hospital (X-ray Room)

Exposure; 82 KVP 500mA	Exposure rates and computed annual Dose

| Designation | Location | X1 Hourly rates | X2 Hourly rates | X3 Hourly rates | Average Hourly rates | Annual dose (mSv) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | (µSv/hr) | (µSv/hr) | (µSv/hr) | (µSv/hr) |  |
| Background | X-ray room | 0.27 | 0.26 | 0.25 | 0.26 | 1.77 |
| Controlled | Behind the | 0.25 | 0.28 | 0.26 | 0.26 | 1.77 |
|  | console barrier |  |  |  |  |  |
|  | lead glass |  |  |  |  |  |
|  | Behind the | 0.94 | 0.93 | 0.92 | 0.93 | 1.80 |
|  | console barrier |  |  |  |  |  |
|  | Staff entry | 7.93 | 7.92 | 7.92 | 7.92 | 2.16 |
|  | door |  |  |  |  |  |
|  | Patient entry | 1.68 | 1.68 | 1.67 | 1.68 | 1.84 |
|  | door |  |  |  |  |  |
|  | Behind | 0.25 | 0.26 | 0.28 | 0.26 | 1.77 |
|  | concrete wall |  |  |  |  |  |
| Uncontrolled | Corridor | 1.00 | 1.00 | 1.01 | 1.00 | 1.80 |
| area |  |  |  |  |  |  |

The results, as shown in Table 4.9, show that the annual dose (mSv) for the x-ray room in Nyeri Level 5 Hospital was 1.77. In the controlled area, the annual dose (mSv) behind the console barrier lead glass was 1.77, behind the console barrier it was 1.8, the staff entry door was 2.16, the patient entry door was 1.84, and behind the concrete wall had 1.77. In the uncontrolled area which comprised the corridors (waiting area), the annual dose (mSv) was 1.8. The study's findings, presented in Table 4.9, indicate that the annual radiation dose in Nyeri Level 5 Hospital's X-ray room and controlled areas ranges between 1.77 and 2.16 mSv, with similar levels observed in uncontrolled areas like the waiting corridors. These doses, although relatively low, highlight the consistent exposure experienced by both staff and patients. This aligns with the literature review, where Nassef and Kinsara (2017) found that occupational radiation doses in a university hospital were significantly below the global recommended limit of 20 mSv, emphasizing effective radiation protection measures in medical settings. Moreover, Lee, Choi, and Ko (2018) noted that even low doses could increase the LAR of cancer, reinforcing the importance of continuous monitoring and protective measures to minimize exposure and long-term health risks. The findings were also in

concurrence with Jeong et al. (2010) findings that the legal limit of radiation exposure in South Korea was less than 50mSv.

# Table 4.10: Radiation Exposure Levels in Nyeri Level 5 Hospital (OPG Room)

Exposure; 75 kVp; 10 mA,

14.35 seconds

Exposure rates and computed annual Dose

| Designation | Location | X1 Hourly rates | X2 Hourly rates | X3 Hourly rates | Average Hourly rates | Annual dose (mSv) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | (µSv/hr) | (µSv/hr) | (µSv/hr) | (µSv/hr) |  |
| Background | OPG room | 0.27 | 0.26 | 0.25 | 0.26 | 1.77 |
| Controlled | Behind lead | 22.0 | 22.0 | 22.8 | 22.3 | 2.91 |
|  | glass |  |  |  |  |  |
|  | Behind | 3.70 | 3.75 | 3.71 | 3.72 | 1.95 |
|  | console |  |  |  |  |  |
|  | barrier |  |  |  |  |  |
|  | Entry door | 0.25 | 0.28 | 0.26 | 0.26 | 1.77 |
|  | frames |  |  |  |  |  |
| Uncontrolled | Corridor | 0.26 | 0.26 | 0.26 | 0.26 | 1.77 |
| area |  |  |  |  |  |  |

In the OPG room, the annual dose (mSv) was 1.77. As part of the control area, behind the lead glass had an annual dose (mSv) of 2.91, behind the console barrier the annual dose (mSv) was 1.95 and the entry door frames had an annual dose (mSv) of 1.77. The uncontrolled area, which mainly covered the waiting area, had an annual dose (mSv) of 1.77. Behind the lead glass, the annual dose (mSv) was 2.91 which was below the recommended annual dose of less than 20mSv per year. The study revealed that the annual radiation doses in the OPG room, control areas, and uncontrolled areas were all significantly below the recommended safety limit of 20 mSv per year, with the highest being 2.91 mSv behind the lead glass. This finding suggests effective radiation safety measures are in place, aligning with Nassef and Kinsara (2017)’s study at KAU, which also reported occupational doses well below the global limit, indicating robust radiation protection protocols. The results imply that current safety practices, such as shielding and monitoring, are adequate to protect workers from excessive radiation exposure, thus minimizing health risks as highlighted by WHO (2018) and supporting the need for ongoing vigilance and adherence to safety standards in radiology departments. These findings agree with Ahmad, Abdalla and Bartenhagen (2019)’s

findings that the annual maximum exposure levels among healthcare workers should be below 20 mSv per year.

# Table 4.11: Radiation Exposure Levels in Nyeri Level 5 Hospital (CT Scan Room)

Exposure; 120 kVp; 300 mAs; Scan time 12 seconds

Exposure rates and computed annual Dose

| Designation | Location | X1 Hourly rates | X2 Hourly rates | X3 Hourly rates | Average Hourly rates | Annual dose (mSv) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | (µSv/hr) | (µSv/hr) | (µSv/hr) | (µSv/hr) |  |
| Background | CT scan room | 0.27 | 0.26 | 0.25 | 0.26 | 1.77 |
| Controlled | Behind the | 0.38 | 0.35 | 0.36 | 0.36 | 1.77 |

console barrier lead glass Behind	the console barrier Behind patient entry door

0.28	0.3	0.27	0.28	1.77

2.17	2.19	2.18	2.18	1.87

Uncontrolled area

Corridor	0.26	0.26	0.26	0.26	1.77

Table 4.11 details radiation exposure levels at Nyeri Level 5 Hospital during CT scans conducted at 120 kV and 300 mAs over 12 seconds. It shows average hourly rates and annual doses across different locations. The CT scan room background Average exposure was 0.26 µSv/hr, resulting in an annual dose of 1.77 mSv. Controlled areas, such as behind console barrier lead glass and console barrier, at average hourly rate of

0.36 µSv/hr and 0.28 µSv/hr, respectively, also resulting in an annual dose of 1.77 mSv. However, behind the patient entry door, exposure was slightly higher at 2.18 µSv/hr, but the annual dose was 1.87 mSv. Uncontrolled areas like corridors exhibit background levels at average hourly rate of 0.26 µSv/hr, with an annual dose of 1.77 mSv. These findings highlight generally low and consistent radiation exposure, except notably higher levels behind the patient entry door, suggesting a need for increased protective measures in that specific area. The study at Nyeri Level 5 Hospital found generally low and consistent radiation exposure levels during CT scans, except for slightly higher exposure behind the patient entry door, indicating a need for increased protective measures in that area. These results suggest that the hospital's radiation safety protocols are generally effective, but improvements are necessary in specific locations to further reduce exposure risks. This finding aligns with Nassef and

Kinsara's (2017) study at KAU Hospital, which reported occupational radiation doses well below the international limit of 20 mSv, yet emphasized the importance of continuous monitoring and protective measures to safeguard health workers. Both studies underscore the critical need for stringent radiation safety practices to protect both patients and healthcare personnel from potential harmful effects of ionizing radiation, reinforcing WHO's (2018) call for public health strategies to manage radiation exposure effectively.

# Table 4.12: Radiation Exposure Levels in Nyeri Level 5 Hospital (Mammography Room)

Exposure; 35 KVP	Exposure rates and computed annual Dose

| Designation | Location | X1 Hourly rates | X2 Hourly rates | X3 Hourly rates | Average Hourly rates | Annual dose (mSv) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | (µSv/hr) | (µSv/hr) | (µSv/hr) | (µSv/hr) |  |
| Background | Mammography | 0.27 | 0.26 | 0.25 | 0.26 | 1.77 |
|  | room |  |  |  |  |  |
| Controlled | Behind the | 0.33 | 0.31 | 0.29 | 0.31 | 1.77 |
|  | acrylic console |  |  |  |  |  |
|  | barrier |  |  |  |  |  |
|  | Backscatter to | 0.31 | 0.33 | 0.32 | 0.32 | 1.77 |
|  | console |  |  |  |  |  |
|  | Behind patient | 0.25 | 0.26 | 0.28 | 0.26 | 1.77 |
|  | entry door |  |  |  |  |  |
|  | Behind entry | 0.26 | 0.26 | 0.26 | 0.26 | 1.77 |
|  | door frames |  |  |  |  |  |
| Uncontrolled | Corridor | 0.26 | 0.26 | 0.26 | 0.26 | 1.77 |
| area |  |  |  |  |  |  |

Table 4.12 showed that the annual dose (mSv) for the Mammography was 1.77. In the controlled area, the annual dose (mSv) behind the acrylic console barrier was 1.77, Backscatter to the console had an annual dose (mSv) of 1.77, behind patient entry door, the annual dose (mSv) was 1.77 and behind the entry door frames the annual dose (mSv) was 1.77. In the uncontrolled area including the corridors (waiting area), the annual dose (mSv) was 1.77. The findings imply that in the Mammography the controlled area's annual dose was below 20mSv and in the uncontrolled areas, the annual dose (mSv) was less than 2.0. The findings concur with Jeong et al. (2010) argument that the average radiation exposure levels in South Korea were 1.52+/-1.35 mSv.

# Table 4.13: Dosimeter Results for Nyeri Level 5 Hospital

Participants  Product	 01/11/2023- 30/11/2023  Cumulative dose

|  |  | Hp (10) | Hp (007) | Hp (10) | Hp (007) |
| --- | --- | --- | --- | --- | --- |
| P01733 | XA030896523: Inlight | 0.19 | 0.19 | 0.19 | 0.19 |
| P01734 | XA0037893233: | 0.19 | 0.19 | 0.19 | 0.19 |
|  | Inlight |  |  |  |  |
| P01735 | XA0037471766: | 0.18 | 0.18 | 0.18 | 0.18 |
|  | Inlight |  |  |  |  |
| P01736 | XA02936910B: | 0.19 | 0.19 | 0.19 | 0.19 |
|  | Inlight |  |  |  |  |
| P01737 | XA03789326X: | 0.19 | 0.19 | 0.19 | 0.19 |
|  | Inlight |  |  |  |  |
| P01738 | XA0303896515: | 0.19 | 0.19 | 0.19 | 0.19 |
|  | Inlight |  |  |  |  |
| P01739 | XA030897414: Inlight | 0.20 | 0.20 | 0.20 | 0.20 |
| P01740 | XA037474439: Inlight | 0.18 | 0.18 | 0.18 | 0.18 |
| P01741 | XA029352487: Inlight | 0.17 | 0.17 | 0.17 | 0.17 |
| P01742 | XA029366001: Inlight | 0.18 | 0.18 | 0.18 | 0.18 |
| P01743 | XA030896705: Inlight | 0.86 | 0.91 | 0.86 | 0.91 |

Table 4.13 showed the results of the Dosimeter readout of Nyeri level 5 hospital. The cumulative dose of the staff was between 0.17mSv - 0.86mSv for the organ dose Hp

(10) and 0.17mSv-0.91mSv for superficial dose Hp (007). However, Participant P01743 exhibited notably higher cumulative doses (0.86 for Hp (10) and 0.91 for Hp (007), suggesting significantly higher radiation exposure compared to the rest of the participants.

These results align with the study by Nassef and Kinsara (2017), which demonstrated that occupational radiation doses in various radiology departments generally remain below international dose limits, emphasizing the importance of continuous monitoring and tailored protective strategies to mitigate exposure risks. This suggests that while overall safety protocols are effective, individual cases of higher exposure need targeted interventions to ensure comprehensive protection for all staff members.

# Level of Awareness of the Hazards of Radiation among Healthcare Workers

The second objective of the study was to assess the level of awareness of the hazards of radiation among healthcare workers in level 4 and 5 hospitals in Nyeri County.

# Health Workers’ Training on Hazards of Radiation

The respondents were asked to indicate whether they had gone through any training on hazards of radiation. The results were presented in Figure 4.6.

No, 49.2

Yes No

Yes, 50.8

# Figure 4.6: Health Workers’ Training on Hazards of Radiation

As shown in Figure 4.6, approximately half of the healthcare workers (50.8%) had undergone training on the hazards of radiation, while the remaining half (49.2%) had not. This aligns with previous research by Kaya, Maimaiti, and Kaya (2017), which found that less than 50% of healthcare professionals in the Middle East had adequate knowledge of radiation risks and safety. These findings underscore the critical need for improved training and education in radiation safety to mitigate health risks associated with improper radiation use, as emphasized by the World Health Organization (2018), which advocates for a public health strategy to manage and reduce radiation exposure risks. Enhanced training can help ensure that medical staff are well-informed about radiation safety practices, thereby protecting both patients and healthcare workers from potential adverse effects. These findings were also in line with Reagen and Slevhta (2010) observation that most of the healthcare professionals working in hospitals had not been trained on radiation hazards. This significant gap in training suggests a need for comprehensive educational initiatives to ensure all healthcare workers were adequately informed about radiation safety.

# Training on Radiation Hazards by Gender

The study assessed the awareness of radiation hazards training by gender among healthcare workers in Nyeri County. Respondents were asked whether they had undergone training on the hazards of radiation.

# Table 4.14: Radiation Hazards Training by Gender

Gender

Male	Female

|  | F | % | F | % |
| --- | --- | --- | --- | --- |
| Have you gone through any training on Yes | 72 | 53.3% | 59 | 48.0% |
| Hazards of Radiation No | 63 | 46.7% | 64 | 52.0% |

Table 4.14 shows that a slightly higher percentage of male healthcare workers (53.3%) had received training compared to female workers (48.0%). This indicates that both male and female healthcare workers require more targeted training to improve awareness and safety practices regarding radiation hazards.

# Training on Radiation Hazards by Age Bracket

Table 4.15 below illustrates the distribution of healthcare workers who had undergone training on radiation hazards, categorized by age bracket.

Table 4.15: Radiation Hazards Training by Age Bracket

Age Bracket	Have you gone through any training on

Hazards of Radiation

Total

|  |  | Yes |  | No |  |
| --- | --- | --- | --- | --- | --- |
|  | F | % | F | % |  |
| 18 Years and below | 0 | 0.00% | 0 | 0.00% | 0 |
| 19-30 years | 85 | 57.80% | 62 | 42.20% | 147 |
| 31-42 Years | 35 | 48.60% | 37 | 51.40% | 72 |
| 43 Years and above | 11 | 28.20% | 28 | 71.80% | 39 |

Table 4.15 shows that the highest percentage of trained staff falls within the 19-30 years age bracket, with 57.8% having received training on radiation hazards. In contrast, only 42.2% in the same age group reported no training. For the 31-42 years bracket, 48.6% had received training, while a similar proportion (51.4%) had not.

Among staff aged 43 years and above, only 28.2% had undergone training compared to 71.8% who had not. These findings suggest that younger healthcare workers are more likely to have received training on radiation hazards compared to their older counterparts. This indicates a need for increased training opportunities for older staff to ensure comprehensive awareness of radiation safety across all ages. This suggests a disparity in training opportunities that leaves older staff less prepared to handle radiation hazards, highlighting the need for comprehensive training programs across all age groups. This finding aligns with the literature, particularly with Dehghani (2015), who emphasizes the necessity of radiation safety education to mitigate health risks associated with improper radiation use. The World Health Organization (2018) supports this, stressing that managing radiation hazards requires a public health strategy to minimize risks and maximize benefits, reinforcing the importance of continuous training for all healthcare workers to ensure safety and effectiveness in radiation use.

# Training on Radiation Hazards by Nature of Work

Table 4.16 below presents the distribution of healthcare workers who have undergone training on radiation hazards, categorized by their nature of work.

# Table 4.16: Radiation Hazards Training by Nature of Work

Nature of Work	Have you gone through any

# training on Hazards of

Total

|  |  | Radiation |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Yes |  | No |  |  |  |
|  | F | % |  | F | % |  |
| Doctors | 5 | 55.6% |  | 4 | 44.4% | 9 |
| Nurses | 49 | 50.5% |  | 48 | 49.5% | 97 |
| Radiologists | 15 | 75.0% |  | 5 | 25.0% | 20 |
| Pharmacists | 7 | 33.3% |  | 14 | 66.7% | 21 |
| Biomedical | 12 | 42.9% |  | 16 | 57.1% |  |
| Engineers |  |  |  |  |  | 28 |
| Others | 43 | 51.8% | 40 |  | 48.2% | 83 |

Table 4.16 showed results indicating varying levels of training on the hazards of radiation across different professions. Among Doctors, 55.6% had received training, compared to 44.4% who had not, suggesting a relatively balanced awareness. Nurses

showed a near-equal split, with 50.5% trained and 49.5% untrained, indicating a need for more comprehensive training efforts. Radiologists had the highest percentage of training, with 75.0% having undergone training, reflecting the critical importance of radiation safety in their field. Conversely, Pharmacists and Biomedical Engineers had lower training rates, with only 33.3% and 42.9% trained, respectively. This disparity highlights potential gaps in safety training that could impact occupational health. Lastly, for other professions, 51.8% had received training, while 48.2% had not, demonstrating an overall mixed level of preparedness across the healthcare sector. These results imply a need for targeted educational initiatives to ensure that all healthcare workers are adequately informed about radiation hazards.

The issues raised in the statement of the problem regarding the inadequate knowledge of radiation safety among healthcare workers, as well as the lack of essential tools for protection and monitoring, had been addressed comprehensively in the findings. The findings specifically targeted the level of awareness and training regarding radiation hazards among healthcare workers in Nyeri County, as detailed in section 4.4.

The study’s findings indicate significant disparities in radiation hazard training among different healthcare professions, highlighting a critical need for targeted educational initiatives to enhance radiation safety awareness. Specifically, while Radiologists demonstrate the highest level of training (75%), professions like pharmacists and Biomedical Engineers exhibit significantly lower training rates (33.3% and 42.9%, respectively). This uneven distribution of training underscores potential gaps in occupational health safety across the healthcare sector, potentially affecting overall preparedness. These findings align with the statement of the problem, which identified inadequate radiation safety knowledge and insufficient protective measures among healthcare workers. The literature review supports this, particularly studies like Nassef and Kinsara (2017) and Ahmad, Abdalla, and Bartenhagen (2019), which emphasize the importance of proper training and monitoring to mitigate health risks associated with radiation exposure. This comprehensive assessment aligns with previous research, indicating a consistent need for enhanced radiation safety training across various healthcare roles to ensure a uniformly high standard of occupational health and safety.

# Table 4.17: Chi-Square Test Results for Radiation Hazards Training by Nature of Work

Chi-Square Tests

|  | Value | df | Asymptotic Significance (2-sided) |
| --- | --- | --- | --- |
| Pearson Chi- | 8.075a | 5 | 0.152 |
| Square |  |  |  |
| Likelihood Ratio | 8.353 | 5 | 0.138 |
| Linear-by-Linear | 0.179 | 1 | 0.673 |
| Association |  |  |  |
| N of Valid Cases | 258 |  |  |

a. 2 cells (16.7%) have expected count less than 5. The minimum expected count is 4.43.

Table 4.17, the Chi-Square test results indicated no significant relationship between the variables under study. The Pearson Chi-Square value of 8.075 with 5 degrees of freedom and an asymptotic significance (p-value) of 0.152 suggests that there is no statistically significant association between the categorical variables at the 5% significance level. Similarly, the Likelihood Ratio Chi-Square of 8.353 with a p-value of .138 supports this conclusion. The Linear-by-Linear Association value of 0.179 with a p-value of .673 indicates no significant linear relationship between the variables. Additionally, 16.7% of the cells have an expected count less than 5, with the minimum expected count being 4.43, which might slightly affect the robustness of the test results but does not change the overall interpretation. These findings imply that the observed distribution of the data does not significantly differ from the expected distribution, suggesting no meaningful association between the variables.

The Chi-Square test results in Table 4.17 reveal no significant association between the variables under study, with Pearson Chi-Square and Likelihood Ratio Chi-Square values both exceeding the 0.05 significance threshold. This lack of significant relationship suggests that the distribution of data across different categories is consistent with expectations, and no meaningful patterns are evident. The results align with the observation that many healthcare workers lack sufficient radiation safety knowledge, as illustrated by specific training gaps among different age groups and professions. This finding is consistent with literature such as the study by Kaya, Maimaiti, and Kaya (2017), which reported low levels of radiation safety awareness

among healthcare workers in Middle Eastern countries. Both studies highlight a critical need for improved training and education in radiation safety to address knowledge deficiencies and reduce exposure risks, supporting the call for enhanced safety protocols and awareness programs.

The finding aligns with the initial problem statement that many healthcare workers may not possess adequate knowledge of radiation safety. The breakdown of awareness by gender, age bracket, and nature of work further illustrates specific gaps in training. For instance, a higher percentage of younger healthcare workers (19-30 years) have received training compared to their older counterparts. Additionally, certain professions, such as Radiologists, show higher training rates, while Pharmacists and Biomedical Engineers had significantly lower rates, indicating disparities in safety training across different roles.

# Awareness of Maximum Permissible Dose Limit for Adult Radiation Workers

The objective sought to assess the level of awareness of the maximum permissible dose limit for adult radiation workers in Nyeri County. The healthcare workers were asked to indicate whether they were aware of the maximum permissible dose limit for adult radiation workers. The results are presented in Figure 4.7.

No, 53.5

Yes, 46.5

Yes

No

# Figure 4.7: Awareness of Maximum Permissible Dose Limit

From the findings, as shown in Figure 4.7, 46.5% (120) of the participants were aware of the maximum permissible dose limit for adult radiation workers, while 53.5% (138) were not familiar with this information. The findings indicated that most of the healthcare workers in Nyeri County were not aware of the maximum permissible dose limit for adult radiation workers. This awareness was crucial in ensuring that healthcare professionals working with radiation are informed about safety standards and guidelines to protect themselves and others from potential health risks associated with radiation exposure.

The findings reveal a significant gap in awareness among healthcare workers in Nyeri County regarding the maximum permissible radiation dose limits, with 53.5% of participants lacking familiarity with these crucial safety standards. This lack of awareness is concerning, given the potential health risks associated with radiation exposure, such as cell damage and increased cancer risk, as highlighted by previous studies. For example, Lee, Choi, and Ko (2018) emphasized the elevated cancer risks among medical radiation professionals due to insufficient awareness and protection practices. The study by Nassef and Kinsara (2017) further supports the need for better training, as it found that average radiation doses for medical workers were below recommended limits, but consistent monitoring and education are essential for maintaining safety. These findings underscore the necessity for improved radiation

safety training and awareness programs, aligning with the recommendations from the literature that advocate for enhanced education and adherence to safety protocols to mitigate health risks associated with radiation exposure.

These findings are in concurrence with Erkan et al. (2019) findings that more than half of healthcare workers have no training on the maximum permissible radiation dose limit.

# Maximum Permissible Dose Limit for Adult Radiation Workers by Gender

Table 4.18 illustrates the awareness levels of maximum permissible dose limits among healthcare workers, categorized by gender.

# Table 4.18: Maximum Permissible Dose Limit for Adult Radiation Workers by Gender

Are you aware of maximum permissible dose limit for adult radiation workers

|  |  | Yes |  |  | No |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | F |  | % | F |  | % |
| Gender Male | 65 |  | 48.1% | 70 |  | 51.9% |
| Female | 55 |  | 44.7% | 68 |  | 55.3% |

Table 4.18 showed 48.1% of male respondents, were aware of the maximum permissible dose limits, while 51.9% were not. This suggests that more targeted training may be necessary. For female respondents, 44.7% were aware, and 55.3% were unaware, indicating a similar need for increased training and awareness efforts. The study's findings, as depicted in Table 4.18, reveal a close division in awareness of permissible radiation dose limits among both male (48.1% aware vs. 51.9% unaware) and female (44.7% aware vs. 55.3% unaware) respondents. This suggests a general need for enhanced training and awareness programs about radiation safety. These results align with previous research indicating a widespread lack of radiation safety knowledge among healthcare workers, such as Kaya et al. (2017), who reported that less than 50% of healthcare professionals in Middle Eastern countries had adequate knowledge of radiation safety. This comparison underscores the importance of

implementing targeted educational initiatives to bridge the awareness gap and reduce occupational health risks associated with radiation exposure, as highlighted in global studies on the efficacy of radiation safety training (Reagen & Slevhta, 2010; Yurt et al., 2014). Overall, the data reflects a moderate level of awareness, but there is a clear need for enhanced educational initiatives across both genders to improve safety practices regarding radiation exposure.

# Table 4.19: Chi-Square Test Results for Maximum Permissible Dose Limits

|  | Value | df | Asymptotic Significance (2-sided) | Exact Sig. (2-sided) | Exact Sig. (1-sided) |
| --- | --- | --- | --- | --- | --- |
| Pearson Chi-Square | 0.305a | 1 | 0.581 |  |  |
| Continuity Correctionb | 0.182 | 1 | 0.669 |  |  |
| Likelihood Ratio | 0.305 | 1 | 0.581 |  |  |
| Fisher's Exact Test |  |  |  | 0.618 | 0.335 |
| Linear-by-Linear | 0.304 | 1 | 0.582 |  |  |
| Association |  |  |  |  |  |
| N of Valid Cases | 258 |  |  |  |  |

        - 0 cells (0.0%) have expected count less than 5. The minimum expected count is 57.21.

        - Computed only for a 2x2 table

Pearson Chi-Square: The value of 0.305 with a p-value of 0.581 indicates no significant association between the variables at the 0.05 significance level. The analysis reveals no significant relationship between awareness of permissible dose limits and the factors studied. This indicates that the level of awareness about radiation dose limits does not significantly impact the observed variables. This finding aligns with the literature, particularly with the study by Kaya, Maimaiti, and Kaya (2017), which reported low levels of radiation safety awareness among healthcare workers in Middle Eastern countries. This underscores the need for improved education and training programs to enhance awareness of radiation safety and dose limits. The study highlights that despite the established risks associated with radiation, such as those outlined by the World Health Organization (2018) and supported by previous research (e.g., Lee, Choi & Ko, 2018), there remains a gap in effective awareness and implementation of safety measures, suggesting that increased educational efforts are

essential for mitigating these risks. This suggests that awareness levels are consistent across different demographics and work roles, emphasizing the need for generalized training across all groups.

# Maximum Permissible Dose Limit among Adult Radiation workers by Age

Table 4.20 shows the awareness levels regarding the maximum permissible dose limit for adult radiation workers, categorized by age.

# Table 4.20: Maximum Permissible Dose Limit among Adult Radiation Workers by Age

Are you aware of maximum permissible dose limit for adult radiation workers

|  |  |  | Yes |  | No |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | F | % | F |  | % |
| Age bracket | 18 Years and below 19-30 years | 0 83 | 0.0% 56.5% | 0 64 |  | 0.0% 43.5% |
|  | 31-42 Years | 28 | 38.9% | 44 |  | 61.% |
|  | 43 Years and above | 9 | 23.1% | 30 |  | 76.9% |

Table 4.20 showed the age group 19-30 years had the highest awareness (56.5%) of the maximum permissible dose limit, indicating effective training or exposure to relevant information early in their careers. However, 43.5% of this group was still unaware, showing room for improvement. For the 31-42 age group, only 38.9% were aware, while 61.1% were not, suggesting a need for refresher training as career progression may lead to oversight. Among those aged 43 and above, only 23.1% were aware of the dose limits, with 76.9% unaware, highlighting a critical gap in knowledge that could impact safety practices. The study reveals significant differences in radiation dose limit awareness across age groups among medical professionals, with the 19-30 age group demonstrating the highest awareness (56.5%) but still showing a notable percentage (43.5%) who are unaware. The 31-42 age group had lower awareness (38.9%), and those aged 43 and above showed the lowest awareness (23.1%). This indicates that while younger professionals are more informed, there is a persistent knowledge gap among them, and older professionals exhibit a critical lack

of awareness that could jeopardize safety practices. This finding correlates with Kaya, Maimaiti, and Kaya’s (2017) study, which found that radiation safety awareness among healthcare workers in Middle Eastern countries was often inadequate, highlighting the need for continuous education across all age groups. The study implies that ongoing refresher training and targeted educational interventions are essential to address these knowledge gaps and enhance safety practices in radiation-related fields. This data emphasizes the need for ongoing education across all age groups, particularly focusing on older staff, to ensure consistent understanding of radiation safety standards.

# Table 4.21: Chi-Square Tests for Maximum Permissible Dose Limit among Adult Radiation Workers by Age

|  | Value | df | Asymptotic Significance (2-sided) |
| --- | --- | --- | --- |
| Pearson Chi-Square | 16.142a | 2 | 0.000 |
| Likelihood Ratio | 16.721 | 2 | 0.000 |
| Linear-by-Linear | 16.065 | 1 | 0.000 |
| Association |  |  |  |
| N of Valid Cases | 258 |  |  |

        - 0 cells (0.0%) have expected count less than 5. The minimum expected count is 18.14.

Table 4.21 showed the results of the chi-square tests suggest that there was a statistically significant association between the age of adult radiation workers and their awareness of the maximum permissible dose limit (p < 0.001). This suggests that age groups differ in terms of the dose limits they are subjected to or can tolerate. This result aligns with previous research by Kaya, Maimaiti, and Kaya (2017), who found that healthcare workers' awareness of radiation safety was generally inadequate, but this study did not specifically address the impact of age. The findings suggest that institutional training and continuous education should be tailored to different age groups to address knowledge gaps and ensure all adult radiation workers are well- informed about radiation safety practices, thus improving overall safety standards.

# Maximum Permissible Dose Limit for Adult Radiation Workers by Level of Education

Table 4.19 presents the awareness of the maximum permissible dose limit for adult radiation workers among staff with various levels of education in Nyeri County hospitals. The table shows the frequency and percentage of respondents who were aware or unaware of these dose limits, categorized by their highest level of education attained.

# Table 4.22: Maximum Permissible Dose Limit for Adult Radiation Workers by Level of Education

| Level of Education |  | Frequency | Percent |
| --- | --- | --- | --- |
| Phd | Yes | 4 | 50 |
|  | No | 4 | 50 |
|  | Total | 8 | 100.0 |
| Master’s Degree | Yes | 9 | 75 |
|  | No | 3 | 25 |
|  | Total | 12 | 100.0 |
| Bachelor's Degree | Yes | 70 | 50.4 |
|  | No | 69 | 49.6 |
|  | Total | 139 | 100.0 |
| Diploma | Yes | 30 | 41.7 |
|  | No | 42 | 58.3 |
|  | Total | 72 | 100.0 |
| Certificate | Yes | 3 | 30 |
|  | No | 7 | 70 |
|  | Total | 10 | 100.0 |
| Secondary | Yes | 4 | 23.5 |
|  | No | 13 | 76.5 |
|  | Total | 17 | 100.0 |

The study assessed the awareness of the maximum permissible dose limit for adult radiation workers among staff with different educational backgrounds. The results indicated varying levels of awareness across educational levels. Among those with secondary education, only 23.5% were aware of the permissible dose limits, highlighting a significant gap in knowledge. In contrast, those with a master's degree showed the highest awareness, with 75% knowing the limits. For staff with bachelor’s degrees, awareness was split almost evenly, with 50.4% aware and 49.6% not aware.

This pattern suggests that higher educational attainment is associated with greater awareness of radiation safety standards.

90

80

70

75

76.5

70

60

58.3

50	50

50.4 49.6

50

41.7

40

30

30

25

Percent

23.5

20

10

0

Further analysis of the data revealed that among PhD holders, awareness was also split evenly at 50%. Diploma holders showed a moderate level of awareness, with 41.7% knowing the limits, while those with certificates had the lowest awareness at only 30%. These findings underscored the importance of targeted educational programs and continuous professional development to enhance radiation safety knowledge across all educational levels. Improving awareness among less educated staff is crucial, given their substantial representation in the workforce, to ensure comprehensive safety compliance in radiology departments. This was further illustrated in the figure below.

| Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| --- | --- | --- | --- | --- | --- |
| Phd | Master's Degree | Bachelor's Degree | Diploma | Certificate | Secondary |

# Figure 4.8: Maximum Permissible Dose Limit for Adult Radiation Workers by Level of Education

The study revealed a clear association between higher educational attainment and increased awareness of radiation safety standards. Specifically, those with a master's degree exhibited the highest awareness (75%), while secondary education holders demonstrated a significant knowledge gap, with only 23.5% aware of the limits. This finding highlights the critical role that education plays in understanding and adhering to safety regulations. For instance, the results align with Kaya, et al. (2017), who found

that healthcare professionals in Middle Eastern countries often had low levels of radiation safety awareness, underscoring the need for improved education and training. Targeted educational programs and continuous professional development are essential to elevate the understanding of radiation safety across all levels of education, particularly among less-educated staff, to ensure comprehensive safety compliance and mitigate risks associated with radiation exposure.

# Maximum Permissible Dose Limit for Adult Radiation Workers by Nature of Work

Table 4.23 displays the awareness of maximum permissible dose limits among different healthcare roles.

# Table 4.23: Maximum Permissible Dose Limit for Adult Radiation Workers by Nature of Work

Are you aware of maximum permissible dose limit for adult radiation workers

|  |  |  | Yes |  | No |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | F | % | F |  | % |
| Nature of | Doctors | 7 | 77.8% | 2 |  | 22.2% |
| Work | Nurses | 50 | 51.5% | 47 |  | 48.5% |
|  | Radiologists | 13 | 65.0% | 7 |  | 35.0% |
|  | Pharmacists | 6 | 28.6% | 15 |  | 71.4% |
|  | Biomedical | 9 | 32.1% | 19 |  | 67.9% |
|  | Engineers |  |  |  |  |  |
|  | Others | 35 | 42.2% | 48 |  | 57.8% |

The results in Table 4.23 indicated varying levels of awareness of the maximum permissible dose limit for adult radiation workers across different professions. Doctors showed the highest awareness, with 77.8% aware of the limit, while only 22.2% are unaware. Radiologists also had relatively high awareness at 65.0%, but 35.0% were unaware. Nurses had a more balanced distribution, with 51.5% aware and 48.5% unaware. Conversely, pharmacists and Biomedical Engineers displayed significantly lower awareness, with only 28.6% and 32.1% aware, respectively, and the majority, 71.4% and 67.9%, unaware. Among other professionals, 42.2% were aware, while 57.8% were not. These results indicated that there was a substantial disparity in

awareness levels of radiation safety protocols among different healthcare workers, suggesting a need for targeted educational interventions, particularly for pharmacists, Biomedical Engineers, and other less aware groups, to ensure comprehensive radiation safety across all professions involved.

The findings revealed a significant variance in awareness regarding the maximum permissible dose limits for adult radiation workers across various healthcare professions. While Doctors and Radiologists showed relatively high awareness levels of 77.8% and 65.0%, respectively, the understanding among Nurses (51.5%), Pharmacists (28.6%), and Biomedical Engineers (32.1%) substantially lagged behind. This disparity calls for targeted educational interventions, particularly for the latter groups, to enhance awareness of radiation safety protocols, thus serving as a foundation for safer healthcare practices (Erkan et al., 2019; Kaya et al., 2017). Linking these findings to the SCT, it is evident that the professionals' awareness levels may reflect their experiences and training opportunities, which directly influence self- efficacy and behavior in radiation safety practices (Miyazaki, 2019). The Italian Workers' Model further emphasizes the importance of active participation and training in health and safety, suggesting that systemic measures, like regular workshops and policy enforcement, are essential to improve safety practices among less aware healthcare workers (Cecchini et al., 2017; Ploussi & Efstathopoulos, 2016). Together, these insights underscore a critical need for comprehensive safety education initiatives within the healthcare sector to mitigate radiation exposure risks.

# Table 4.24: Chi-Square Tests for Maximum Permissible Dose Limit for Adult Radiation Workers by Nature of Work

Chi-Square Tests

|  | Value | df | Asymptotic Significance (2-sided) |
| --- | --- | --- | --- |
| Pearson Chi-Square | 12.942a | 5 | 0.024 |
| Likelihood Ratio | 13.287 | 5 | 0.021 |
| Linear-by-Linear | 5.232 | 1 | 0.022 |
| Association |  |  |  |
| N of Valid Cases | 258 |  |  |

        - 2 cells (16.7%) have expected count less than 5. The minimum expected count is 4.19.

The Chi-Square test results in Table 4.24 indicated a significant relationship between the variables under study. The Pearson Chi-Square value of 12.942 with 5 degrees of freedom and an asymptotic significance (p-value) of 0.024 suggests that there was a statistically significant association between the categorical variables at the 5% significance level. Similarly, the Likelihood Ratio Chi-Square of 13.287 with a p-value of 0.021 supports this conclusion. The Linear-by-Linear Association value of 5.232 with a p-value of 0.022 indicates a significant linear relationship between the variables. However, it was important to note that 16.7% of the cells had an expected count less than 5, with the minimum expected count being 4.19, which might affect the robustness of the test results. These findings indicated that the observed distribution of the data differed significantly from the expected distribution, suggesting a meaningful association between the variables.

These results suggested that the observed categorical variables do not behave independently, implying that specific factors can influence behavior and outcomes related to health and safety in the context of radiation exposure, aligning with SCT, which emphasizes the interplay of personal experiences, environmental influences, and behavior change. The significant Linear-by-Linear Association (p = 0.022) indicates that there is a systematic relationship between the variables, further supporting the premise that increased awareness and training on radiation safety can enhance self-efficacy and proactive behavior among hospital staff (Cecchini, Bedini & Stasi, 2017; Giraudo, Bena & Costa, 2017). However, the caveat of 16.7% of cells having expected counts below 5 raises concerns about the reliability of these results, as per the literature (Cho et al., 2018). This aligns with previous studies indicating that while awareness of radiation hazards is crucial in reducing exposure, gaps still exist in knowledge and adherence to safety practices among healthcare workers (Reagen & Slevhta, 2010; Kaya, et al., 2017), which underscores the need for continuous training and reinforcement of safety measures in medical settings.

# Organs Prone to Radiation Hazards

The respondents were asked to indicate organ(s) that radiation can be hazardous. The results are presented in Table 4.25.

# Table 4.25: Organs Prone to Radiation Hazards

|  |  | Frequency |  | Percent |
| --- | --- | --- | --- | --- |
|  | Yes | No | Yes | No |
| The eyes | 207 | 51 | 80.2 | 19.8 |
| Thyroid gland | 191 | 66 | 74.0 | 25.6 |
| Ovary and testis | 214 | 44 | 82.9 | 17.1 |

Table 4.25 results indicated that, 80.2% (207) of the healthcare workers in Nyeri County were aware that the eyes were prone to radiation hazards, 74% (191) indicated that the thyroid glands were prone to radiation hazards and 82.9% (214) indicated that ovaries and testis were prone to radiation hazards. The findings showed that healthcare workers in Nyeri County were aware that the eyes, thyroid glands, ovaries and testis were prone to radiation hazards. This awareness aligns with literature that emphasizes the importance of education and training in fostering safety practices among medical professionals, as highlighted by social cognitive theory (Cecchini, Bedini & Stasi, 2017). The high awareness rates suggest that healthcare workers may possess a baseline understanding of radiation risks, yet the variability in awareness across different organs might indicate gaps in knowledge that need targeted intervention through more focused training programs. Enhanced awareness contributes to improved self-efficacy and behavior in accordance with the Social Cognitive Theory, suggesting that ongoing education can mitigate radiation exposure risks effectively (Cho, Kim, Jang & Han, 2018). Furthermore, integrating elements of the Italian Workers' Model may provide a structured approach to addressing these hazards, emphasizing preventative measures over compensatory ones (Runyan, 2018). With varying degrees of awareness mirrored in international studies, like those in Middle Eastern and African countries, the implications of consistent training and evaluation are critical for optimizing radiation safety protocols globally (Muhogora & Rehani, 2017; Kaya et al., 2017). However, despite this awareness, the overall training and knowledge on practical radiation safety measures appear insufficient. These findings agree with Paolicchi et al. (2016) findings that radiation exposure affects the eyes and thyroid glands. The findings are also similar to Kiguli-Malwadde et al. (2020) findings that radiation exposure affects the reproductive health system, specifically the ovaries and testis. Figure 4.9 represented the organs prone to radiation hazards.

Frequency %

90

80

70

60

50

40

30

20

10

0

80.2

82.9

74

25.6

19.8

17.1

The eyes

Thyroid gland

Organs prone to radiation Hazards

Ovary and testis

Percent Yes	Percent No

Figure 4.9: Organs Prone to Radiation Hazards

Table 4.26: Chi Square Test for Organs Prone to Radiation Hazards Statistic	Value

# Chi-square value	6.07

# p-value (Asymptotic Significance Two-sided)	0.048

# Degrees of freedom	2

The chi square test results in table 4.26 indicated there was a statistically significant association between the type of organ and its susceptibility to radiation hazards. These meant that certain organs were more prone to radiation hazards than others as indicated by the observed frequencies.

# Hazards of Radiation in Health Facilities

The respondents were asked to indicate their level of agreement with various statements concerning hazards of radiation in their health facilities. The study used a Likert scale where 1 represents strongly disagree, 2 represents disagree, 3 represents neutral, 4 represents agree and 5 represents strongly agree. The results are presented in Table 4.26.

# Table 4.27: Hazards of Radiation in Health Facilities

| Statements Percentages Mean Std. Dev |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1 | 2 | 3 | 4 | 5 |  |  |
| After use, lead aprons for |  | 23.3 | 10.5 | 13.2 | 20.9 | 32.2 | 3.28 | 1.57 |
| protection should be folded |  |  |  |  |  |  |  |  |
| before collection |  |  |  |  |  |  |  |  |
| Workers should wear a thick |  | 9.7 | 7 | 5.4 | 26 | 51.9 | 4.03 | 1.32 |
| lead apron as much as possible |  |  |  |  |  |  |  |  |
| to reduce the radiation dose |  |  |  |  |  |  |  |  |
| maximally |  |  |  |  |  |  |  |  |
| Lead goggles can reduce |  | 10.1 | 3.9 | 11.6 | 26.4 | 48.1 | 3.98 | 1.29 |
| radiation exposure to personnel |  |  |  |  |  |  |  |  |
| Radiation | measuring | 10.1 | 6.2 | 17.8 | 24 | 41.9 | 3.81 | 1.31 |
| instrument | must be placed |  |  |  |  |  |  |  |
| outside of the lead apron Radiation measuring 16.3 10.5 19 21.3 32.9 3.44 1.45 |  |  |  |  |  |  |  |  |

instrument should be worn above the lead apron) Radiation	measuring instruments should be worn

27.9	10.5	17.1	18.6	26	3.04	1.57

under the lead apron)

The results in Table 4.26 indicated that healthcare workers had varying levels of awareness regarding the hazards of radiation in health facilities. The mean scores range was from 3.04 to 4.03, with a standard deviation of 1.29-1.57, suggesting that there was some variation in understanding among staff members. The percentage of staff who agreed or strongly agreed with each statement varied, with the highest agreement rates for statements related to wearing lead aprons (51.9%) and the lowest for placing radiation measuring instruments outside of lead aprons (9.7%). This showed that while many staff recognized the importance of personal protective equipment, there may be a lack of understanding about the proper use of radiation measuring instruments, which could lead to inadequate radiation exposure monitoring and patient safety concerns.

From the findings, the respondents agreed that workers should wear a thick lead apron as possible to reduce the radiation dose maximally. These findings agree with Safi et al. (2014) findings that lead aprons reduce radiation doses maximally. In addition, the respondents agreed that lead goggles can reduce radiation exposure to personnel. These findings were in line with Yurt et al. (2014) findings that the use of lead goggles

reduces exposure to radiation. The respondents also agreed that the radiation measuring instrument must be placed outside the lead apron. Some respondents were neutral on the statement indicating that radiation measuring instruments should be worn above the lead apron after use, the lead apron for protection should be folded before collection and radiation measuring instrument should be worn under the lead apron.

The analysis by gender and age shows similar trends, with older staff demonstrating slightly higher awareness levels but still highlighting a critical need for comprehensive training across all demographics. Furthermore, the findings illustrate that higher educational attainment is associated with greater awareness of radiation safety standards, suggesting the need for targeted educational programs for less-educated staff to bridge this knowledge gap.

The findings confirm the issues outlined in the statement of the problem. There is a clear need for improved training and awareness programs to ensure that all healthcare workers are adequately informed about radiation hazards and safety measures, regardless of their role, gender, age, or educational background. This will help mitigate the risks of radiation exposure to healthcare facilities and enhance the overall safety of the medical staff.

This aligns with existing literature, such as findings by Safi et al. (2014) and Yurt et al. (2014), which emphasize the necessity of using personal protective equipment to mitigate radiation exposure effectively and demonstrate the critical need for comprehensive training and awareness programs across all demographic groups. Additionally, the study's results resonate with the Social Cognitive Theory, highlighting that enhancing workers' self-efficacy and observational learning through consistent training can influence behavior change and reduce exposure risks. Furthermore, the Italian Workers' Model underscores the importance of proactive measures and worker engagement in safety practices, advocating for the establishment of a robust radiation protection culture within healthcare settings. These findings underscore the urgency for targeted educational programs that address identified

knowledge gaps and reinforce best practices in radiation safety, ultimately ensuring both staff and patient well-being in medical environments.

# Control Measures Applied to Prevent Radiation Exposures

The third objective of the study was to evaluate control measures applied by the healthcare workers in Nyeri County.

# Measures to Control Radiation Exposure

The respondents were asked to indicate the extent to which staff in their organizations used various measures to control radiation exposure. Where 5 represents very great extent, 4 represents great extent, 3 represents moderate extent, 2 represents low extent and 1 represents no control at all.

# Table 4.28: Measures to Control Radiation Exposure

Control Measure	Percentages	Median

|  | 1 | 2 | 3 | 4 | 5 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Minimizing time of radiation exposure. | 6.2 | 4.7 | 10.1 | 27.1 | 51.9 | 10.1 |
| Doubling the distance between body | 6.6 | 9.3 | 14.7 | 34.5 | 34.9 | 14.7 |
| and the radiation source Shielding (using absorber materials) | 7.8 | 6.6 | 15.1 | 27.9 | 42.6 | 15.1 |

Minimizing time of radiation exposure was generally effective, doubling the distance between the body and the radiation source was more effective and shielding using absorber materials was the most effective method to control exposure.

Likert %

Percentages

measures to control radiation exposure

Minimizing time of radiation exposure.

Doubling the distance between body and the radiation source Shielding (using absorber materials)

0

14.715.1

10.1

9.3 6.6

4.7

6.2 6.6 7.8

10

20

27.1	27.9

30

42.6

34.9

34.5

50

40

51.9

60

Figure 4.10: Measures to Control Radiation Exposure

These findings agree with the World Health Organization (2018) findings that control measures are based on the principles of individual-related RP principles (applying dose limits) and two source-linked RP principles (justifying procedures/practices, optimization of safety (that is ALARA principle). In the ALARA principle, time, shielding and distance are the three fundamental radiation safety precautions. The findings also agree with Ko et al. (2017) findings that radiation employees can use distance, shielding and time, to control and reduce their exposure to penetrating radiation.

# Table 4.29: Chi Square Tests for Measures to Control Radiation Exposure

| Statistic | Value |
| --- | --- |
| Chi-square value | 7.384822 |
| P value (Asymptotic Significance Two-Sided) | 0.495738 |
| Degrees of freedom | 8 |

The Chi- Square test results in table 4.29 indicated that there was no statistically significant association between the three control measures.

# Extent of Minimizing Time of Radiation Exposure by Gender

The findings in Table 4.28 indicate that both male and female respondents generally make significant efforts to minimize their radiation exposure, with the majority reporting that they do so to a "Very Great Extent." This reflects a high level of awareness and proactive behavior regarding radiation safety across genders. This result aligns with broader literature, such as the studies by Ko, Chung, and Cho (2017) and Land, Bouville, and Apostoaei (2010), which emphasize the importance of minimizing exposure time, using shielding, and maintaining distance to effectively manage radiation safety. The general consensus in these studies is that reducing exposure is crucial to mitigating health risks associated with radiation, which supports the observed behavior of respondents in the study. This proactive stance on radiation safety underscores the effectiveness of ongoing awareness and control measures as highlighted in the reviewed literature.

Table 4.30: Extent of Minimizing Time of Radiation Exposure by Gender

Gender		Total

|  |  | Male | Female |  |
| --- | --- | --- | --- | --- |
| Minimizing time of | No Control at | 11 | 5 | 16 |
| radiation exposure. | All. |  |  |  |
|  | Low Extent | 7 | 5 | 12 |
|  | Moderate Extent | 14 | 12 | 26 |
|  | Great Extent | 38 | 32 | 70 |
|  | Very Great | 65 | 69 | 134 |
|  | Extent |  |  |  |
| Total |  | 135 | 123 | 258 |

Table 4.31: Chi-Square Tests for Gender Differences in Minimizing Radiation Exposure

|  | Value | df | Asymptotic Significance (2-sided) |
| --- | --- | --- | --- |
| Pearson Chi-Square | 2.819a | 4 | 0.589 |
| Likelihood Ratio | 2.871 | 4 | 0.580 |
| Linear-by-Linear | 2.533 | 1 | 0.111 |
| Association |  |  |  |
| N of Valid Cases | 258 |  |  |

a. 0 cells (0.0%) have expected count less than 5. The minimum expected count is 5.72.

Table 4.31 Present the results of Chi-Square tests to determine if there were statistically significant differences between male and female in the extent to which they minimized radiation exposure

The Pearson Chi-Square value was 2.819 with a p-value of 0.589, indicating no significant association between gender and the extent of minimizing radiation exposure. Similarly, the likelihood ratio and linear-by-linear association tests also showed no significant differences. Thus, the data suggested that gender did not significantly influence the extent to which individuals minimize their radiation exposure. This suggests that gender does not influence how individuals engage in minimizing radiation exposure. This result aligns with the study by Ahmad, Abdalla, and Bartenhagen (2019), which observed increased inflammatory cytokines in radiation-exposed workers but did not find significant gender-based differences in their exposure levels. The absence of a gender effect in minimizing radiation exposure supports the notion that radiation safety practices, as emphasized by various studies, including the WHO's ALARA principle (2018), are universally applicable irrespective of gender. This implies that interventions aimed at reducing radiation exposure should focus on improving overall safety practices and awareness rather than targeting gender-specific strategies.

# Perceived Extent of Control by Gender

Table 4.32 presents the distribution of responses by gender regarding the extent to which doubling the distance between the body and a radiation source is perceived as an effective control measure.

# Table 4.32: Perceived Extent of Control by Gender

Gender	 Total

|  |  | Male | Female |  |
| --- | --- | --- | --- | --- |
| Doubling the distance between body and the radiation source | No Control at All. Low Extent | 7 17 | 10 7 | 17 24 |
|  | Moderate Extent | 21 | 17 | 38 |
|  | Great Extent | 40 | 49 | 89 |
|  | Very Great Extent | 50 | 40 | 90 |
| Total |  | 135 | 123 | 258 |

The data in table 4.32 showed that both males and females largely perceive this action as having a "Great Extent" or "Very Great Extent" of control, with 40 males and 49 females selecting "Great Extent," and 50 males and 40 females selecting "Very Great Extent." The least common response was "No Control at All," with 7 males and 10 females choosing this option. Overall, more males (135) participated in the survey compared to females (123).

# Table 4.33: Chi-Square Tests for Association between Gender and Perceived Extent of Control

|  | Value | df | Asymptotic Significance (2-sided) |
| --- | --- | --- | --- |
| Pearson Chi-Square | 6.594a | 4 | 0.159 |
| Likelihood Ratio | 6.717 | 4 | 0.152 |
| Linear-by-Linear | .021 | 1 | 0.884 |
| Association |  |  |  |
| N of Valid Cases | 258 |  |  |

a. 0 cells (0.0%) have expected count less than 5. The minimum expected count is 8.10.

The Pearson Chi-Square value is 6.594 with a p-value of 0.159, indicating no statistically significant association at the .05 level. Similarly, the likelihood ratio test and the linear-by-linear association test also show no significant relationship, with p- values of 0.152 and 0.884, respectively. These results suggest that gender does not significantly influence the perception of the effectiveness of this control measure.

# Cross Tabulation of Shielding (Using Absorber Materials) by Gender

Table 4.32 presents a cross tabulation of gender and the extent to which shielding (using absorber materials) was implemented as a control measure, alongside Chi- Square tests assessing the relationship between these variables.

# Table 4.34: Cross Tabulation of Shielding (Using Absorber Materials) by Gender

Gender	 Total

|  |  | Male | Female |  |
| --- | --- | --- | --- | --- |
| Shielding (using absorber materials) | No Control at All. Low Extent | 9 9 | 11 8 | 20 17 |
|  | Moderate Extent Great Extent | 22 39 | 17 33 | 39 72 |
|  | Very Great Extent | 56 | 54 | 110 |
| Total |  | 135 | 123 | 258 |

The table shows that among the 258 respondents, shielding to a "Very Great Extent" is the most common response, with 56 males and 54 females reporting this level of control. Conversely, "No Control at All" is the least common, with 9 males and 11 females. The Chi-Square test results indicate no significant association between gender and the extent of shielding implementation (Pearson Chi-Square value = 0.880, df = 4, p = 0.927), suggesting that the implementation extent of shielding does not significantly differ by gender. This implies that both male and female respondents report similar levels of shielding application, reflecting a uniform approach to this control measure across genders.

# Table 4.35: Chi-Square Tests for Shielding (Using Absorber Materials) by Gender

|  | Value | df | Asymptotic Significance (2-sided) |
| --- | --- | --- | --- |
| Pearson Chi-Square | .880a | 4 | 0.927 |
| Likelihood Ratio | .881 | 4 | 0.927 |
| Linear-by-Linear | .011 | 1 | 0.917 |
| Association |  |  |  |
| N of Valid Cases | 258 |  |  |

a. 0 cells (0.0%) have expected count less than 5. The minimum expected count is 8.10.

The Chi-Square test results indicate no significant association between gender and the extent of shielding implementation (Pearson Chi-Square value = 0.880, df = 4, p = 0.927), suggesting that the implementation extent of shielding does not significantly differ by gender. This implies that both male and female respondents report similar levels of shielding application, reflecting a uniform approach to this control measure across genders.

# Extent of Radiation Control Measures across Different Age Brackets

Table 4.34 presented the extent to which different age groups employed radiation control measures such as minimizing exposure time, doubling the distance from the radiation source, and using shielding materials.

# Table 4.36: Extent of Radiation Control Measures across Different Age Brackets

Age Bracket

|  |  | 18 Years and Below | 19-30 Years | 31-42 Years | 43 Years and Above |
| --- | --- | --- | --- | --- | --- |
| Minimizing | No Control at All. | 0 | 9 | 3 | 4 |
| time of | Low Extent | 0 | 7 | 1 | 4 |
| radiation | Moderate Extent | 0 | 12 | 8 | 6 |
| exposure. | Great Extent | 0 | 33 | 23 | 14 |
|  | Very Great Extent | 0 | 86 | 37 | 11 |
| Doubling the | No Control at All. | 0 | 8 | 7 | 2 |
| distance | Low Extent | 0 | 9 | 8 | 7 |
| between body | Moderate Extent | 0 | 20 | 11 | 7 |
| and the | Great Extent | 0 | 49 | 24 | 16 |
| radiation | Very Great Extent | 0 | 61 | 22 | 7 |
| source |  |  |  |  |  |
| Shielding | No Control at All. | 0 | 12 | 5 | 3 |
| (using | Low Extent | 0 | 4 | 5 | 8 |
| absorber | Moderate Extent | 0 | 22 | 14 | 3 |
| materials) | Great Extent | 0 | 31 | 24 | 17 |
|  | Very Great Extent | 0 | 78 | 24 | 8 |

The results show that among the age groups, those aged 19-30 years and 31-42 years show a higher tendency to practice these safety measures to a great or very great extent. Specifically, 86 respondents in the 19-30 years category and 37 in the 31-42 years category minimize radiation exposure to a very great extent, whereas older age groups (43 years and above) have lower numbers. Doubling the distance is also predominantly practiced by the 19-30 years group, with 61 respondents doing so to a very great extent. For shielding, the trend remains similar, with the 19-30 years group having the highest adherence (78 respondents to a very great extent). These results suggest significant awareness and implementation of radiation safety measures among younger professionals, particularly those aged 19-30 years, indicating a need for targeted educational and policy interventions to bolster these practices among older age groups.

# Table 4.37: Chi-Square Tests for Radiation Control Measures by Age Bracket

| Radiation Control Measure | Pearson Chi- Square | df | Asymptotic Significance (2-sided) |
| --- | --- | --- | --- |
| Minimizing time of radiation | 15.864 | 8 | 0.044 |
| exposure |  |  |  |
| Doubling the distance between | 12.897 | 8 | 0.115 |
| body and the radiation |  |  |  |
| Shielding (using absorber | 33.567 | 8 | 0.000 |

materials)

The results in Table 4.37 summarized the Chi-Square tests for different radiation control measures by age bracket. For minimizing the time of radiation exposure, there was a statistically significant difference across age brackets (Pearson Chi-Square = 15.864, p = 0.044), indicating age influences this practice. Doubling the distance between the body and the radiation source does not show a significant difference (Pearson Chi-Square = 12.897, p = 0.115), suggesting uniformity in this practice across age groups. However, shielding using absorber materials reveals a significant difference across age brackets (Pearson Chi-Square = 33.567, p = 0.000), highlighting age-related variations in employing this control measure. These findings suggest that while some radiation control practices vary by age, others do not, offering insights into how demographic factors influence safety behaviors.

# Radiation Control Measures by Level of Education

Table 4.38 summarized the extent to which individuals with different levels of education employed various radiation control measures, such as minimizing exposure time, doubling the distance from the radiation source, and using shielding materials.

# Table 4.38: Radiation Control Measures by Level of Education

| Level of Education | Minimizing Time of Radiation Exposure | Doubling the Distance Between Body and Radiation Source | Shielding (Using Absorber Materials) |
| --- | --- | --- | --- |
|  | No Control | Low Extent | Moderate Extent |
| PhD | 0 | 0 | 2 |
| Master’s | 2 | 2 | 0 |
| degree Bachelor’s | 6 | 5 | 7 |
| Degree Diploma | 0 | 2 | 2 |
| Certificate | 8 | 1 | 14 |
| Secondary | 0 | 2 | 1 |
| Total | 16 | 12 | 26 |

The data show that bachelor’s degree holders predominantly take these measures to a "very great extent," particularly with minimizing exposure time (89 respondents), doubling distance (65 respondents), and using shielding materials (71 respondents). Certificate holders also show significant engagement, with many taking measures to a "very great extent" across all three practices. Conversely, secondary education holders and those with PhDs show varied levels of control measures, often to a lower extent. These findings suggest that higher education levels correlate with greater implementation of radiation safety measures.

# Radiation Control Measure Chi-Square Results

Table 4.39 presents the results of chi-square tests examining the effectiveness of different radiation control measures in minimizing radiation exposure. The tests were conducted to evaluate the association between these measures and the occurrence of radiation-related incidents. The results show significant associations between each of the measures and the outcome, with the exception of "Shielding (using absorber materials)" which shows a weaker association.

# Table 4.39: Radiation Control Measure Chi-Square Results

| Radiation Control Measure | Pearson Chi-Square | df | Asymptotic Significance (2-sided) |
| --- | --- | --- | --- |
| Minimizing time of radiation | 54.317 | 20 | 0.000 |
| exposure |  |  |  |
| Doubling the distance between | 69.724 | 20 | 0 .000 |
| body and the radiation source |  |  |  |
| Shielding (using absorber | 32.315 | 20 | 0 .040 |

materials)

The results in table 4.39 indicated that "Minimizing time of radiation exposure" and "Doubling the distance between body and the radiation source" were both highly effective in reducing radiation exposure, with extremely low p-values (<0.001). This suggests that these measures had a strong impact on reducing radiation-related incidents. In contrast, "Shielding (using absorber materials)" showed a weaker association with the outcome, with a p-value of 0.040. This may imply that while shielding was still an important control measure, it may not be as effective as the other two measures in reducing radiation exposure.

These findings suggest that minimizing radiation exposure time and doubling the distance between body and the radiation source are crucial in controlling radiation exposure, while shielding may require further evaluation and refinement to improve its effectiveness. These results have important implications for radiation safety protocols and guidelines, highlighting the need for a multi-faceted approach to radiation control.

# Types of Shielding Used to Prevent Exposure

The respondents were asked to indicate the types of shielding staff used to prevent exposure. Table 4.40 shows the results.

# Table 4.40: Types of Shielding Used to Prevent Exposure

Frequency	Percent

|  | Yes | No | Yes | No |
| --- | --- | --- | --- | --- |
| Thyroid shields | 61 | 197 | 23.6 | 76.4 |
| Portable lead shields | 75 | 183 | 29.1 | 70.9 |
| Lead aprons | 215 | 43 | 83.3 | 16.7 |
| Lead glasses | 109 | 149 | 42.2 | 57.8 |
| Automatic interlock devices | 69 | 189 | 26.7 | 73.3 |

From the findings, as shown in Table 4.40, 83.3% of the respondents indicated that to prevent exposure, staff in their health facilities used lead aprons, 42.2% indicated that they used lead glasses, 29.1% used portable lead shields, 26.7% used automatic interlock devices and 23.6% used thyroid shields. This implies that the most commonly used measure of preventing exposure in health facilities was lead aprons. Other shielding equipment used in the prevention of exposure to staff working in radiology departments includes thick walls, goggles, lead doors and lead windows. The findings agree with Ploussi and Efstathopoulos, (2016) that the most used types of shielding used to prevent exposure include lead aprons, thyroid shields, portable lead shields and lead glasses.

It was observed that the enclosure in the radiology rooms was adequate. The rooms were concrete, and natural stones enclosed the building. The walls were of adequate thickness with no cracks. There were also radiation and warning signs where standard radiation warning signs were provided. The lead glass was used in the X-ray room. Lead glasses were provided for the X-ray unit room console for patient viewing. In the entry doors, Lead doors were provided with adequate thickness (1.5mm of lead). For radiation protection wear, lead gowns were provided of 0.35 mm of lead equivalence were provided. However, Dosimeter records were currently unavailable.

90

80

70

60

50

40

30

20

10

0

83.3

76.4

70.9

73.3

57.8

42.2

29.1

23.6

26.7

16.7

Percent Yes	Percent No

# Figure 4.11: Types of Shielding Used to Prevent Exposure

# Factors Considered in the Control of Radiation Exposure

The respondents were asked to indicate factors considered in the control of radiation exposure. The results are presented in Table 4.41.

| F | % | F | % |
| --- | --- | --- | --- |
| Design of facilities and imaging equipment 193 | 74.8 | 65 | 25.2 |
| Designation of workplaces as controlled and supervised 165 | 64 | 93 | 36 |
| Individual (personal) radiation monitoring 171 | 66.3 | 87 | 33.7 |
| Use of personal protective devices 214 | 82.9 | 44 | 17.1 |
| Reduction of the time when the worker is exposed to 170 | 65.9 | 88 | 34.1 |
| Moving as far away from the source of radiation 178 | 69 | 80 | 31 |

Table 4.41: Factors Considered in the Control of Radiation Exposure

Factor		Yes	No

areas

radiation

From the findings in Table 4.41, 82.9% of the respondents indicated that the use of personal protective devices was considered in the control of radiation exposure. In addition, 74.8% indicated that the design of facilities and imaging equipment was considered while 69.0% indicated that moving as far away from the source of radiation. Further, 66.3% of the respondents indicated that individual (personal) radiation monitoring was considered in the control of radiation exposure, 65.9% indicated that reduction of the time when the worker is exposed to radiation was

considered while 64.0% of the respondents indicated that designation of workplaces as controlled and supervised areas. These findings agree with Land et al. (2010) findings that the use of personal protective equipment, individual (personal) radiation monitoring, and design of facilities and imaging equipment, including the designation of workplaces as controlled and supervised areas, are all effective ways to reduce occupational exposure and in interventional and diagnostic radiology (lead-lined aprons, leaded glass eyewear, thyroid shields, protective screens, etc.).

% Yes	% No

Moving as far

away from the source of radiation

time when the

worker is exposed to radiation

protective

devices

Use of personal Reduction of the

Individual

(personal) radiation monitoring

Design of	Designation of

facilities and	 workplaces as imaging	controlled and

equipment	supervised areas

17.1

25.2

31

34.1

33.7

36

69

65.9

66.3

64

74.8

82.9

90

80

70

60

50

40

30

20

10

0

# Figure 4.12: Factors Considered in the Control of Radiation Exposure

In summary, it was found that minimizing exposure time, using absorber materials for shielding, and increasing distance from radiation sources were widely used. Lead aprons were the most common shielding device, followed by lead glasses and portable shields. Facility designs, personal protective devices, and individual radiation monitoring were significant factors considered in controlling exposure. These measures align with WHO and other global safety guidelines, ensuring that radiation exposure levels remain within safe limits for healthcare workers and the public.

CHAPTER FIVE CONCLUSIONS AND RECOMMENDATIONS

# Conclusions

# Radiation Exposure Levels in the Radiology Departments

The study aimed at determining radiation exposure levels in the radiology departments of Level 4 and 5 hospitals in Nyeri County, Kenya. The results showed that all the hospitals namely: Nyeri level 5 hospital, Karatina level 4 hospital, Mukurwe-ini level 4 hospital and Othaya level 4 hospital had radiation exposure levels within the internationally recommended safety limit, though Nyeri (x-ray staff entry door and OPG behind lead glass) and Mukurwe-ini (x-ray staff entry door) had exposures above 2.0mSv, but still below the occupational limit.

The dosimeter results indicated the radiation exposure levels of participants in the radiology departments of level 4 and 5 hospitals in Nyeri County, measured over the period of one month from 01/11/2023 to 30/11/2023. The recorded Hp (10) and Hp

(007) values represented the dose equivalents for personal monitoring of radiation exposure. Most participants showed consistent cumulative doses ranging from 0.17 to 0.26, indicating relatively low levels of exposure.

This pattern implied that while the majority of the radiology staff were within safe exposure limits, there were instances of higher exposure that warranted further investigation and potential intervention. These discrepancies may point to differences in individual work practices, adherence to safety protocols, or equipment maintenance issues. Ensuring consistent radiation safety training and regular monitoring can help mitigate these risks, promoting a safer work environment in the radiology departments of Nyeri County hospitals.

# Level of Awareness of the Hazards of Radiation among Staff

The study found that half of the healthcare workers in Nyeri County had received training on the hazards of radiation, while the other half had not. The awareness of

radiation hazards training was higher among younger staff (64.9% among those aged 19-30 years) compared to older staff (22.0% among those aged 43 years and above). Additionally, Radiologists had the highest percentage of training on radiation hazards (75.0%), while Doctors had 55.6%, others had (51.8%), whereas Nurses had 50.5%. Furthermore, the study found that nearly half of the healthcare workers were aware of the maximum permissible dose limit for adult radiation workers, with a higher awareness rate among those with higher educational attainment (75% among those with a master's degree) and among Radiologists (44.2%). However, there was a significant gap in awareness among Nurses and Biomedical Engineers, highlighting the need for targeted training programs to enhance radiation safety knowledge across all healthcare professions.

# Control Measures Applied to Prevent Radiation Exposures

The study concluded that healthcare workers had varying levels of awareness regarding measures to control radiation exposure, with the highest agreement rates for minimizing time of radiation exposure (51.9%) and doubling the distance between body and the radiation source (34.9%). Shielding (using absorber materials) was used to a moderate extent by 42.6% of staff. The analysis also found no significant differences between males and females in the extent to which they minimize radiation exposure or perceive the effectiveness of doubling the distance between body and the radiation source. However, there were significant differences in the extent to which shielding was implemented across age groups, with younger professionals (19-30 years) being more likely to use it. Additionally, higher education levels were associated with greater implementation of radiation safety measures. Finally, chi- square tests revealed that minimizing time of radiation exposure and doubling the distance between body and the radiation source were highly effective in reducing radiation exposure, while shielding showed a weaker association with the outcome.

# Recommendations

# Recommendations to the Ministry of Health, Nyeri County, Kenya

There is need to develop a comprehensive radiation safety training program. Based on the finding that half of the healthcare workers in Nyeri County had not received training on the hazards of radiation, the Ministry of Health should develop a comprehensive radiation safety training program that targets all healthcare professionals, with a focus on younger staff and those with lower educational attainment.

# Recommendations to Healthcare Workers in Nyeri County, Kenya

There is need to implement effective control measures to prevent radiation exposure. The study found that healthcare workers had varying levels of awareness regarding measures to control radiation exposure. The study recommended that staff take proactive steps to minimize time of radiation exposure, double the distance between body and the radiation source, and use shielding (absorber materials) to prevent radiation exposure.

# Recommendation to Radiologists

As Radiologists have the highest percentage of training on radiation hazards (75%), they should lead by example and demonstrate effective control measures to prevent radiation exposure.

# Recommendation to the Management of Level 4 and 5 Hospitals in Nyeri County

The following recommendations should be acted upon by the hospital management:

- The radiology department in Nyeri Level 5 Hospital and Mukurwe-ini Hospital should ensure that the staff entry door frame in the x-ray room is changed or has an overlapped lead frame. In the Nyeri OPG room, behind the lead glass, the radiation was significantly higher than expected. This was due to the proximity of

the glass to the tube while imaging. The increase of distance between the tube and lead glass to at least 2 meters while imaging was recommended.

- The management of level 4 and 5 hospitals in Nyeri County should implement comprehensive and regular training programs for all healthcare workers in these facilities. The training should focus on radiation hazards and organs that could be affected by radiation exposure. The management of these facilities should also focus on increasing awareness about the maximum permissible dose limit for adult radiation workers to ensure all staff members are well informed.

- The management of level 4 and 5 hospitals in Nyeri County, including the heads of radiology departments, should conduct additional training on the correct handling of lead aprons after use, specifically emphasizing the importance of folding them before collection. They should also implement clear guidelines and reminders for staff to ensure proper care and storage of protective gear to maintain their effectiveness. They should also implement a system for continuous monitoring and evaluation of the awareness levels among healthcare staff regarding radiation hazards.

- The management of level 4 and 5 hospitals in Nyeri County should encourage consistent and comprehensive use of personal protective equipment (lead aprons, lead glasses, portable lead shields, automatic interlock devices, and thyroid shields). They should also provide training to ensure staff are aware of the different types of protective equipment available and their specific applications.

- The management should also ensure that all staff members have easy access to personal protective equipment, including lead glasses, portable lead shields, and thyroid shields. They should also periodically assess the availability and condition of protective equipment to address any shortages or issues. They should also provide specialized training on the proper use and benefits of automatic interlock devices to increase their adoption among staff.

# REFERENCES

Abuzaid, M. M., Elshami, E., & Shawki, M. (2019). Assessment of compliance to radiation safety and protection at the radiology department. International Journal of Radiation Research, 17(3), 32–54.

Ahmad, I. M., Abdalla, M. Y., & Bartenhagen, L. (2019). Healthcare workers occupationally exposed to ionizing radiation exhibit altered levels of inflammatory cytokines and redox parameters. Antioxidants, 8(1), 12–32. https://doi.org/10.3390/antiox8010012

Akdag, M., Dasdag, S., & Canturk, F. (2018). Exposure to non-ionizing electromagnetic fields emitted from mobile phones induced DNA damage in human ear canal hair follicle cells. Electromagnetic Biology and Medicine, 37(1), 66–75.

Alsafi, K. G. (2016). Radiation protection in X-ray computed tomography: Literature review. International Journal of Radiology and Imaging Technology, 2(2), 18–29.

Babbie, E. R. (2017). The basics of social research (7th ed.). Cengage Learning.

Barrett, C. M. (2016). Radiation hazards in the practice of radiology. Radiology, 63(3), 43–65.

Bryman, A., & Cramer, D. (2012). Quantitative data analysis with SPSS release 8 for Windows. Routledge.

Cecchini, M., Bedini, R., & Stasi, S. (2017). Safety knowledge and changing behavior in agricultural workers: An assessment model applied in Central Italy. Safety and Health at Work, 9(1), 10–32.

Chinangwa, G., Amoako, J. K., & Fletcher, J. J. (2017). Radiation dose assessment for occupationally exposed workers in Malawi. Malawi Medical Journal, 29(3), 254–258.

Cho, P., Kim, Y., Jang, H., & Han, E. (2018). Radiation safety behavior model for dental hygiene departments of universities in South Korea. International Journal of Radiation Research, 16(1), 95–106.

Creswell, J. W. (2014). Research design: Qualitative, quantitative, and mixed methods approaches (4th ed.). Sage Publications.

Dehghani, A. (2015). Radiation safety awareness amongst staff and patients in the hospitals. International Journal of Occupational and Environmental Health, 6(2), 114–119.

Egbert, J. (2015). Writing education research: Guidelines for publishable scholarship. Taylor & Francis.

Erkan, I., Yarenoglu, A., & Yukseloglu, E. H. (2019). The investigation of radiation safety awareness among healthcare workers in an education and research hospital. International Journal of Radiation Research, 17(3), 455–461.

Giraudo, M., Bena, A., & Costa, G. (2017). Migrant workers in Italy: An analysis of injury risk taking into account occupational characteristics and job tenure. BMC Public Health, 17, 351.

Gittleman, H. R., Ostrom, Q. T., Rouse, C. D., & Kruchko, C. A. (2015). Trends in central nervous system tumor incidence relative to other common cancers in adults, adolescents, and children in the United States, 2000 to 2010. Cancer, 121(1), 102–112.

Hair, J. F. (2011). Essentials of business research methods (2nd ed.). M.E. Sharpe.

Jeong, T. S., Shin, B. C., Moon, C. W., & Yum, H. Y. (2010). The analysis of radiation exposure of hospital radiation workers. Journal of the Korean Society for Therapeutic Radiology and Oncology, 18(2), 157–166.

Kamunde, K. B. (2018). Radiation exposure levels associated with construction sand from Tharaka-Nithi County in Kenya. Kenyatta University Institutional Repository. https://ir-library.ku.ac.ke/

Kaya, B., Maimaiti, N., & Kaya, Ş. (2017). Radiation safety awareness among healthcare workers in Middle Eastern countries. Journal of Advances in Medicine and Medical Research, 24, 10–39.

Kiguli-Malwadde, E., Matovu, P., Kawooya, M., & Byanyima, R. K. (2020). Radiation safety awareness among radiation workers and clientele at Mulago Hospital, Kampala, Uganda. East and Central African Journal of Surgery, 11(1), 32–56.

Ko, S., Chung, H. H., & Cho, S. B. (2017). Occupational radiation exposure and its health effects on interventional medical workers: Study protocol for a prospective cohort study. BMJ Open, 7(9), e018333.

Korir, G., Wambani, J., & Korir, I. (2011). Estimation of annual occupational effective doses from external ionizing radiation at medical institutions in Kenya. South African Journal of Radiology, 15(4), 116–119.

Land, C. E., Bouville, E., & Apostoaei, I. (2010). Radiation protection of workers and the public in diagnostic and interventional radiology. Health Physics, 99(2), 201–215.

Lee, W. J., Choi, Y., & Ko, S. (2018). Projected lifetime cancer risks from occupational radiation exposure among diagnostic medical radiation workers in South Korea. BMC Cancer, 18, 1206.

Miller, A. B., Sears, M. E., Morgan, L. L., Davis, D. L., Hardell, L., Oremus, M., & Soskolne, C. L. (2019). Risks to health and well-being from radio-frequency radiation emitted by cell phones and other wireless devices. Frontiers in Public Health, 7, 223.

Ministry of Health. (2019). CS Health inaugurates radiation safety board. https://www.health.go.ke

Ministry of Health, Republic of Kenya. (2015). Basic occupational health and safety participant’s manual for health care services in Kenya. Government Press.

Miyazaki, R. (2019). Migrant care workers and care-migration policies: A comparison between Italy and Japan. Asia Europe Journal, 17(2), 161–177.

Morrison, W. (2018). Are X-rays really safe? Medical News Today. https://www.medicalnewstoday.com/articles/219970

Muigua, K. (2020). Exploring alternative sources of energy in Kenya. http://kmco.co.ke

Musamali, E. W. (2017). Assessment of human exposure to natural source of radiation on the soil in Tongaren Constituency of Bungoma County, Kenya. Discovery and Innovation, 3, 31–35.

Nassef, M. H., & Kinsara, A. A. (2017). Occupational radiation dose for medical workers at a university hospital. Journal of Taibah University for Science, 11(6), 1259–1265.

Nkubli, F. B., Nzotta, C. C., & Luntsi, G. (2017). A survey of structural design of diagnostic X-ray imaging facilities and compliance to shielding design goals in a limited resource setting. Journal of Global Radiology, 3(1), 6.

Nuclear and Energy Agency. (2019). Nuclear Regulatory Bill 2018. https://www.nuclear.co.ke

Nyeri County Government. (2020). Health services. https://www.nyeri.go.ke

Paolicchi, F., Miniati, F., & Bastiani, L. (2016). Assessment of radiation protection awareness and knowledge about radiological examination doses among Italian radiographers. Insights into Imaging, 7(2), 233–242.

Parikh, J. R., Geise, R. A., & Bluth, E. I. (2017). Potential radiation-related effects on radiologists. American Journal of Roentgenology, 208(3), 595–602.

Ploussi, A., & Efstathopoulos, E. (2016). Importance of establishing radiation protection culture in radiology department. World Journal of Radiology, 8(2), 142–147.

Prior, L. (2013). Using documents in social research. Sage Publications.

Rania, M. A., Afaf, M. T., Elsamani, M., & Wisal, B. H. (2015). Knowledge and performance of radiographers towards radiation protection, Taif, Saudi Arabia. IOSR Journal of Dental and Medical Sciences, 14(3), 63–68.

Reagen, J. T., & Slevhta, A. M. (2010). Factors related to radiation safety practices in California. Radiologic Technology, 81(6), 538–547.

Repullo, J. R., & Gomes, J. R. (2005). Brazilian union actions for workers' health protection. São Paulo Medical Journal, 123(1), 24–29.

Rostamzadeh, A., Farzizadeh, M., & Fatehi, D. (2015). Evaluation of the level of protection in radiology departments of Kermanshah, Iran. Iranian Journal of Medical Physics, 12(1), 10–19.

Runyan, C. W. (2018). Using the Haddon matrix: Introducing the third dimension.

Injury Prevention, 4(4), 302–327.

Ruth, K. M., Warutere, P. N., & Nyamari, J. (2020). Levels of ionizing radiations in selected quarries in Nyamira County, Kenya. Heliyon, 6(7), e04363. https://doi.org/10.1016/j.heliyon.2020.e04363

Safi, M., Sheybani, H., & Namazi, M. (2014). Academic training in radiation safety awareness and practice among Iranian residents/fellows. Heart Asia, 6(1), 137–141. https://doi.org/10.1136/heartasia-2014-010565

Sloven, E. (1960). Slovin’s formula for sampling technique. Journal of Geoscience and Environment Protection, 2(1), 15–17.

Wiam, E., Mohamed, A., Antti, P., & Mika, K. (2020). Estimation of occupational radiation exposure for medical workers in radiology and cardiology in the United Arab Emirates: Nine hospitals experience. Radiation Protection Dosimetry, 189(4), 466–474. https://doi.org/10.1093/rpd/ncaa045

World Health Organization. (2018). Radiation safety culture in health care: Role of medical physicists. Geneva: World Health Organization.

Xie, Z., Liao, X., Kang, Y., Zhang, J., & Jia, L. (2016). Radiation exposure to staff in intensive care unit with portable CT scanner. BioMed Research International, 2016, 1–8. https://doi.org/10.1155/2016/5818743

Yurt, A., Çavuşoğlu, B., & Gunay, T. (2014). Evaluation of awareness on radiation protection and knowledge about radiological examinations in healthcare professionals who use ionized radiation at work. Molecular Imaging and Radionuclide Therapy, 23(1), 48–53. https://doi.org/10.4274/mirt.23.01

# APPENDICES

Appendix I: Informed Consent

DETERMINATION OF THE EFFECTIVENESS OF RADIATION PROTECTION IN THE DETECTION OF EXPOSURES AMONG HEALTHCARE WORKERS IN LEVEL 4 AND 5 HOSPITALS IN NYERI COUNTY, KENYA

The Purpose

I am Joyce Mugo, a Master’s student at Jomo Kenyatta University of Agriculture and Technology, pursuing a degree of Master of Science Degree in Occupational Safety and Health in the Institute of Energy and Environmental Technology. The main objective of this study is to determine the effectiveness of radiation protection among healthcare workers in level 4 and 5 hospitals in Nyeri County, Kenya. The study also seeks to measure radiation exposure levels in the radiology departments in level 4 and 5 hospitals; to assess the level of awareness to the hazards of radiation among staff and to evaluate control measures applied among staff. I hope that you will feel free to discuss with me your views on the prevalence and factors that contribute to exposure to radiation among healthcare workers.

# Procedures

Participation in this study will require I ask you some questions on your views on the prevalence and factors that contribute to exposure to radiation among healthcare workers in level 4 and 5 hospitals. You may ask questions related to the study at any time. You may refuse to respond to any questions, and you may stop participating at any time without consequences on you.

# Discomforts and risks

There will be minimum risk on you for participating in this study. However, some questions you will be asked will be of a sensitive nature and may make you uncomfortable. If this happens you may refuse to answer if you so choose. You may also stop the interview at any time. The interview shall take approximately 15 minutes of your time.

# Benefits

There may be no direct benefits or compensation to you as an individual, but the information generated will be used by the administrators and other stakeholders to come up with strategies to reduce exposure to radiation among healthcare workers in level 4 and 5 hospitals in Nyeri County.

# Voluntary Participation and Withdrawal

Your participation is entirely voluntary, and should you change your mind you are free to opt out at any time. You may skip questions or stop participating at any time without any penalty.

# Confidentiality

I will not identify you and no information that will make it possible for anyone to identify you will be required in this study. The information provided will only be used for academic purposes and will not be given to any organization or individual for any other use. All information will be kept under lock and key and the electronic information will be under a password.

# Contact information

Any queries regarding this study may be directed to me,  cell phone number +254 722 653176. In addition, if you have any questions on your rights as a research participant you can contact my supervisors, Dr. Charles Mburu, PhD. and Prof. Joseph Ngugi Kamau, PhD

Having been informed about the study and having read the above and understood all that it entails, do willingly give consent to participate or not to participate in the study.

Participant	signature………………………….

Date………………………………

Researcher’s	signature……………………… Date………………………………

Appendix II: Measurement Analysis of Radiation (OSLD)

| Occupational classification | Age range | Dose mSv |
| --- | --- | --- |

Room survey (Radiation meters)

| Exposures | Exposure rates and computed annual doses |
| --- | --- |

Appendix III: Questionnaire

I am a student in the Institute of Energy and Environmental Technology of JKUAT, pursuing a Master of Science degree in Occupational Safety and Health. I am requesting for your participation in answering the provided questions regarding the Exposure to Radiation among Healthcare Workers in level 4 and 5 health facilities in Nyeri County, Kenya. Information provided during this study will be considered as confidential and anonymous and will not be disclosed to anyone else. Please fill free and provide precise information as much as you can.

# Instructions

Please fill in all the questions below by either ticking the appropriate option or circling the appropriate number. All information given will be strictly confidential.

# Section A: Demographic Information

- Please specify your Gender

Male	[ ]	Female	[ ]

- Please indicate your age bracket

18 Years and below [ ]	19-30 years	[ ]

31-42 Years	[ ]	43 Years and above	[ ]

- Please indicate the highest level of education attained

Primary	[ ]		Secondary		[ ] Bachelor’s degree [ ]		Master’s degree	[ ]

PhD	[ ]

Any other specify,

- Nature of Work

Doctors	[ ]

Nurses	[ ]

Radiologists	[ ]

Pharmacists	[ ]

Others (specify) ……………………….

- Occupational Experience

| 1 year< | [ ] | 2-5 years | [ ] |
| --- | --- | --- | --- |
| 6-10 years | [ ] | 11-15 years | [ ] |
| 15 years> | [ ] |  |  |

# Section B: Level of awareness to the hazards of radiation among staff

- Have you gone through any training on Hazards of Radiation?

Yes	[ ]	No	[ ]

- Are you aware of maximum permissible dose limit for adult radiation workers? Yes	[ ]	No	[ ]

- Which organ(s) can radiation be hazardous? The eyes	[ ]

Thyroid gland	[ ]

Ovary and testis	[ ]

All of the above	[ ]

- To what extent do you agree with the following statements in relation to hazards of radiation in your health facility? Please record your answer by ticking at the space provided, by the scale indicator (1= Strongly Disagree, 2 = Disagree, 3 = Neutral, 4 = Agree, 5 = Strongly Agree)

| Statement | 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- | --- |
| After use, lead apron for protection should be folded before collection |  |  |  |  |  |
| Worker should wear a thick lead apron as possible to reduce the radiation dose maximally |  |  |  |  |  |
| Lead goggle can reduce radiation exposure to personnel |  |  |  |  |  |
| Radiation measuring instrument must be placed outside of the lead apron |  |  |  |  |  |
| Radiation measuring instrument should be worn above the lead apron) |  |  |  |  |  |
| Radiation measuring instrument should be worn under the lead apron) |  |  |  |  |  |

# Section C: Control Measures Applied to Prevent Radiation Exposures

- To what extent do staff in your organization use the following measures to control radiation exposure? Where 5 is Very Great Extent, 4 Is Great Extent, 3 Is Moderate Extent, 2 Is Low Extent And 1 Is No Control at All.

| Control Measures | 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- | --- |
| Minimizing time of radiation exposure. |  |  |  |  |  |
| Doubling the distance between body and the radiation source |  |  |  |  |  |
| Shielding (using absorber materials) |  |  |  |  |  |

- Which types of shielding do staff use to prevent exposure?

Thyroid shields	[ ]

Portable lead shields	[ ]

Lead aprons	[ ]

Lead glasses	[ ]

Automatic interlock devices  [ ]

- Which other shielding equipment are used in the prevention of exposure by staff working in radiology departments?

……………………………………………………………………………….

….

……………………………………………………………………………….

………………………………………………………………………………. Which factors are considered in the control of radiation exposure?

| Design of facilities and imaging equipment | [ ] |
| --- | --- |
| Designation of workplaces as controlled and supervised areas | [ ] |
| Individual (personal) radiation monitoring | [ ] |
| Use of personal protective devices | [ ] |
| Reduction of the time when the worker is exposed to radiation | [ ] |
| Moving as far away from the source of radiation | [ ] |

- Which other control measures are applied to prevent radiation exposure?

……………………………………………………………………………….….

Thank you for your cooperation

Appendix IV: Control Measures in Radiology Department

| Control Measures | Utilization of the measures |
| --- | --- |
| Doubling the distance between body and the radiation source |  |
| Use of thyroid shields |  |
| Use of portable lead shields |  |
| Use of lead aprons |  |
| Use of lead glasses |  |
| Use of automatic interlock devices |  |

Appendix V: Radiology Room Layout

- Shielded Control Area:

  - Technologists operate equipment behind leaded glass barriers.

- Patient Zones:

  - Clearly marked to minimize exposure.

- Structural Shielding:

  - Lead-lined walls, concrete barriers, and shielded doors.

- Protective Equipment:

  - Lead aprons, thyroid collars, lead glasses, and portable shields.

- Radiation Warning Signs:

  - Displayed at entry points and control zones.

This layout ensures compliance with international safety standards and protects both staff and patients.